4-JUL-92 ............. U300  DAMM - GENERAL - WTM ............... PAGE   1

Section  Contents

010  GENERAL      - Introduction and General Features

020  GENERAL      - Getting Started

030  GENERAL      - Assigning Input/Output Files

040  GENERAL      - Loop-Execution & Symbol-Definition

050  GENERAL      - Log File -  damm.log

060  GENERAL      - Comments on Hard Copy

070  GENERAL      - File ID-directories and Count-Sums

090  GENERAL      - Cursor Tracking Problems With Xterminals

100  GENERAL      - Changes in Cursor-Mode Commands

110  GENERAL      - Mouse Button Customizing

120  GENERAL      - Screen Setup and Color Mapping

130  GENERAL      - Display Delays (hangup problems)

150  DISPLAY      - 1-D Display

155  DISPLAY      - 1-D Display (Peak Finding/Logging)

160  DISPLAY      - 2-D Display

200  MANIPULATION - Syntax Definitions

210  MANIPULATION - Setup

220  MANIPULATION - I/O     1-D Histograms

230  MANIPULATION - Gating  2-D Histograms

240  MANIPULATION - General 2-D Projections

250  MANIPULATION - Operations on Buffers-1 & -2

260  MANIPULATION - Show Data, Count-Sums etc (from Bufs-1 & -2)

270  MANIPULATION - Modify Buffer Contents

280  MANIPULATION - Printer Plots

290  MANIPULATION - Gain-Shifts & Compressions

300  MANIPULATION - of HIS-files (Copy, Add, Gain-Shift, etc)

350  BANANAS      - Definition, Rules, Construction & Display

360  BANANAS      - Projections

400  FITTING      - Introduction & General Features

410  FITTING      - 1-Key (Cursor Mode) Commands

420  FITTING      - Setup Commands

430  FITTING      - Display of Data, Fits & Printer-Plots

440  FITTING      - FIT Execution Commands

450  FITTING      - FIT Parameters - Saving, Setting, Default

460  FITTING      - FIT Specification Details

470  FITTING      - Peak Shapes

480  FITTING      - Gradient-Search Method (FIT  request)

490  FITTING      - Gaussian Method        (GFIT request)

500  FITTING      - Estimated Uncertainties in Peak Areas

510  FITTING      - Reading Fit Results from damm.log

520  FITTING      - Common Problems

530  FITTING      - Peak Shape vs Asymmetry (Log Plot)

550  CUSTOMIZING  - Screen Configuration

560  CUSTOMIZING  - Graphic Screen Color Mapping

570  CUSTOMIZING  - Graphic Screen Black & White Mapping

600  Implementation

700  Gating 2D Matrix With the Cursor (RVR)

U300.010  Introduction and General Features

DAMM  is a Display, Analysis and Manipulation Module which is configured to

be used on VAXstations  running  VMS  and  DECwindows.  DAMM  provides  the

features  to  be  found  in  VAXPAK  programs  DAM,  SAM, TDX and XAM. Some

general features are listed below.

Display features ..........................................................

(1)....Works with VAXstations and DECstations running DECwindows.

(2)....Displays 1-D data from HIS- or SPK-files.

(3)....Displays 2-D data from HIS-files.

(4)....Hardcopy available via screen-copy to LN03, LN03 ScriptPrinter

(5)....A dialog record may be saved on a Log-file.

(6)....Supports Free-Form (Banana) gate construction.

(7)....Provides for total number of counts within a Banana.

(8)....Supports X- & Y-projections of Bananas (saved on DAMQ8Q.SPK).

(9)....Provides for peak sum, centroid and fwhm.

(10)...Provides for spectrum analysis (fitting - see SEC# U300.400).

General features ..........................................................

(1)....Reads 1-D histograms from either HIS-, SPK-files.

(2)....Extracts GATES (on parameters 1 or 2) from 2-D histograms.

(3)....Supports general projections of Bananas on arbitrary axis.

(4)....Forms linear combinations, gain-shifts etc. of 1-D histograms.

(5)....Forms linear combinations, gain-shifts etc. of 2-D histograms.

(6)....Does linear gain and intercept transformations by rebinning.

(7)....Does crunches (sums a specified number of channels together).

(8)....Lists and plots 1-D histograms on the line printer.

(9)....Shows directory (ID'S) contained in HIS-, SPK- & BAN-files.

(10)...Shows count-sums for all ID's in SPK- or HIS-files.

Program operation .........................................................

The program is controlled by a set of commands (alphabetic directives)  and

associated  data-lists  (numbers):  I  call  these  command-lists. Input is

free-form. Command and list-element delimiters are BLANK , ( ) /

U300.020  GETTING STARTED

The steps given below outline how I would do it. Of course, you can  do  it

any way that you choose or not at all.

(1)....Log  onto  DECstation,  VAXstation,  Xterminal,  etc.  in  the usual

manner.

(2)....Open a DECterm window and move  it  to  the  lower  left  corner  of

screen.

(3)....Type:  @U1:[MILNER.XWIN]DAMM   ;to start program on a VMS host

or:  DAMM                    ;if defined in LOGIN.COM

Type:  /usr/hhirf/damm         ;to start program on an ULTRIX host

or:  damm                    ;if defined in your .login

(4)....Type:  H                       ;for HELP directory

(5)....Type:  H  ITEM                 ;for help on directory ITEM

(6)....Type:  H  FIG                  ;for screen configurations

(7)....Try a few FIG commands to get a feel for how they work.

(8)....Note  the  fact  that  the  display  required  for  entering fitting

information (like peak positions, etc) is via the DS & DSX  commands

rather than the general display commands D & DX.

(9)....Learn  to  use  the  HELP  facility.  That  will  usually  be   more

up-to-date than this document.

(10)...Filenames  have  been  made  case-sensitive  for the ULTRIX version.

Where default extensions apply, upper case is assumed  for  VMS  and

lower  case  is  assumed  for ULTRIX. Acceptable standard extensions

now include .spk, .SPK, .his, .HIS, .ban, .BAN, .cmd &  .CMD.  Note:

If  the  his-file  extension  is  lower/upper case then the drr-file

extension must be lower/upper case. Also note:

/usr/users/directory/subdirectory/filename   ;is an acceptable form but

../directory/subdirectory/filename   ;is NOT! (at least for now)

U300.030  Commands for Assigning Input/Output Files

IN   FIL.EXT    - Open N-file (EXT = SPK or HIS)

OU   FIL.EXT    - Open O-file (EXT = SPK or HIS) - OUTPUT for SPK only

OU   FIL.SPK,NEW- Create and open O-file (SPK-file for output)

QF   FIL.EXT    - Open Q-file (EXT = SPK or HIS) - for display only

RF   FIL.EXT    - Open R-file (EXT = SPK or HIS) - for display only

SF   FIL.EXT    - Open S-file (EXT = SPK or HIS) - for display only

BAN  FIL        - Open FIL.BAN for store, recall, proj, etc

BAN  FIL,NEW    - Create & open FIL.BAN for store, recall, etc

- (See below for how to specify variable FILENAMES)

CLO  F          - Closes F-file (where F = N, O, P, Q, R, S or BAN)

DFIL            - Displays data files currently open

CMD  FIL        - Open and process commands from FIL.CMD

CMD  FIL.EXT    - Open and process commands from FIL.EXT

LON/LOF         - Turn Log-output (to LU7) ON/OFF (default = OFF)

Explanation of variables in FILENAMES .....................................

One   symbol   (integer   variable)  may  be  incorporated  in  a  FILENAME

specification as the following examples illustrate:

Example-1 .................................................................

SYM=3

OU FIL"SYM".SPK  ;Opens FIL3.SPK

Example-2 .................................................................

I=0

LOOP 3

I=I+1

IN FIL"I".SPK    ;Opens (in succession) FIL1.SPK, FIL2.SPK, FIL3.SPK

.

ENDLOOP

U300.040  Commands Related to Loop-Execution & Symbol-Definition

SYM = EXPRESSION - Define symbol (SYM) up to 100 symbols supported

- symbols: UIND CIND ULOC CLOC FIX NONE FITS ALL and

- COLR GREY DOTS LIVE BAN  M N O P Q R S are reserved

- expression syntax is same as in CHIL

- no imbedded blanks are allowed in expressions

- symbols may contain up to 4 characters (5-8 ignored)

DSYM             - Displays list of currently defined sumbols & values

LOOP N           - Starts LOOP (executed N-times) N=SYM or CONST

CMD  ....        - Nesting supported

CMD  ....        - # lines between 1st LOOP & matching ENDL = 100

ENDL             - Defines end-of-loop

- KILL (entered before END) kills LOOP

- Ctrl/C    - aborts loop-in-progress

- opening of CMD-file within a LOOP not allowed

LOOP suspension - the WO command ------------------------------------------

A command WO [means the same thing as WOA or WHOA -  i.e  the  opposite  of

GIDDUP (my preferred spellings)] has been implemented to work within LOOPs.

Whenever  the WO command is encountered (within a LOOP only, otherwise it's

illegal), the message:

Type [RETURN] to CONTINUE--->

will appear on the screen. This gives you an opportunity  to  look  at  the

display  etc.  before  it  gets  wiped  out. When you are finished looking,

press the [RETURN] key and it will continue.

U300.050  Log File - damm.log

The VMS version of DAMM always creates a new version of DAMM.LOG while  the

ULTRIX  version  creates  a  new  damm.log  or appends to an old version of

damm.log if it exists. If you enter the command LON, almost all  dialog  to

and  from the host will be logged, otherwise, only certain "print commands"

will produce output to the log-file or device. You may turn the log  ON/OFF

by entering LON/LOF.

U300.060  Comments on Hard Copy

As  I  have defined the default the color mapping, it is best to set up the

Workstation to Print Screen in the negative image mode. If you are printing

on something like a LN03 ScriptPrinter, anything you chose  to  print  will

be  scaled to fit on one page. If you are using an LN03, it may come out on

multiple pages (and you may miss some) unless  you  choose  a  "Portion  of

Screen" that it likes.

U300.070  File ID-directories and Count-Sums

DIR  KF   Displays a list of all ID's in file-KF, where

KF   left blank says input-file

KF = N     denotes   input-file

KF = O     denotes  output-file

KF = Q     denotes       Q-file

KF = R     denotes       R-file

KF = S     denotes       S-file

KF = BAN   denotes     BAN-file

LDIR KF   Logs a list of all ID's in file-KF on DAMM.LOG

DDIR KF   Displays ID's & # of non-zero channels for SPK-files

DDIR KF   Displays ID-directory in detail        for HIS-files

Also logs on DAMM.LOG if LON

DSUM KF   Displays count-sums of all ID's on file-KF

Also logs on DAMM.LOG if LON

U300.090  Cursor Tracking Problems With Xterminals

The  software-generated  full-window  cursor  displayed by DAMM when in the

"1-key cursor mode" requires a lot of  real-time  response  from  the  host

computer  for  live tracking of the mouse. This works fine when the host is

a local workstation but does not work well for Xterminals hosted by a  busy

VAX. The following commands are intended to alleviate this problem. Type:

CURT LIVE  ;for full-window cursor which tracks mouse "live" (default)

CURT X     ;for new cursor display only for mouse-click or key-press

;(works better for Xterminals hosted by busy VAX, etc.)

Execute the desired CURT command and then FIG to make it take effect.

U300.100  Changes in Cursor-Mode Commands

I  have  eliminated  the  destinction  between  upper and lower case in all

cursor-mode commands. The Shift- and Caps-lock  keys  have  no  effect.  In

order  to do this and retain meaningful command names, it was neccessary to

use two keys for certain commands. These commands (UP, UX, UW, UL, UH,  UO,

and UB) are defined below:

P/UP   Add/Delete peak to Library (pos specified by cursor)

X/UX   Fix/Free  peak position (for displayed peak nearest to cursor)

W/UW   Fix/Free  peak width    (for displayed peak nearest to cursor)

L/UL   Fix/Free  Lo-Side ASYM  (for displayed peak nearest to cursor)

H/UH   Fix/Free  Hi-Side ASYM  (for displayed peak nearest to cursor)

O/UO   Turn peak  ON/OFF       (for displayed peak nearest to cursor)

B/UB   Add/Delete background point at cursor position

Read  UP  as Unset Peak, for example. As usual, no carriage return is used.

There are also a few other changes in commands. These are listed below:

LF-ARROW    Set expand-region lo-limit

RT-ARROW    Set expand-region hi-limit

DN-ARROW    Pan DOWN - move picture so cursor-chan at right-screen

UP-ARROW    Pan UP   - move picture so cursor-chan at  left-screen

/           Display XCUR, YCUR, channel# & energy

U300.110  Mouse Button Customizing

The Mouse Buttons can be used in place of some  key-strokes  while  in  the

1-key  cursor-mode. Different button definitions are provided for the three

different types of  displays  (namely:  the  displays  resulting  from  the

commands  D, DD & DS). The following customizing commands are supported:

BUD  L,M,R  ;Defines Left,Middle,Right buttons for cursor in  D-window

BUDD L,M,R  ;Defines Left,Middle,Right buttons for cursor in DD-window

BUDS L,M,R  ;defines Left,Middle,Right buttons for cursor in DS-window

BUD  L,H,S  ;Example (cursor in 1-D)   L-butt sets sum-reg lo-limit,

;M-butt sets sum-reg hi-limit,  R-butt requests S-sum

BUDD A,T,Z  ;Example (cursor in 2-D)   L-butt adds banana points,

;M-butt totalizes enclosed counts,  R-butt zots banana

Buttons can't be set to  / or ;  -  set to  ? or :  instead

U300.120  Screen Setup and Color Mapping

Screen  configuration  (placement  of  graphics  windows on the screen) and

color (or black & white) mapping  is  discussed  in  more  detail  in  SEC#

U300.550,  U300.560  and  U300.570  (if  you  have  a B&W monitor, you will

probably want to change the color mapping). Here we give the usual list  of

commands and a brief description of each.

COMMANDS RELATED TO SCREEN SETUP & COLOR MAPPING ...........................

FIGI           ;Set  screen configuration library to default

FIGF FILNAM    ;Read screen configuration library from FILNAM

FIG  N         ;Set current screen configuration to type-N

WIN  ID        ;Set subsequent displays to be in window-ID (dflt=1)

AXON ID        ;Enable  the drawing of axis for  window-ID (dflt)

AXOF ID        ;Disable the drawing of axis for  window-ID

CMAP           ;Set color map to default  ("takes" after next FIG)

CMAP FILNAM    ;Set color map from FILNAM ("takes" after next FIG)

REVV           ;Reverse all color specs   ("takes" after next FIG)

DLNS N         ;Set # disp-lines = N - for HELP, DDIR & DSUM

CURT LIVE      ;Set full-wind cursor to track mouse LIVE (default)

CURT X         ;New full-wind cursor generated via mouse-click or key

;The CURT command takes effect only after next FIG

SSI            ;Set screen to initial - erase all graphic windows

Program  damm  has,  by  default,  16  pre-defined  screen  connfigurations

available. Each is referenced (via the FIG  command)  by  an  ID-number.  A

list  of  the  ID-numbers  along with the associated configuration is given

below. Try a few FIGs and observe the results or if you really want to  get

serious,  see  SEC#  U300.550. In particular, if you have an Xterminal with

less than 1024  x  860  pixels,  you  will  probably  need  to  modify  the

configuration table as described in SEC# U300.550.

1-[]     2-[][]   3-[][]   4-[][]   5-[][]   6-[][]   7-[][]   8-[][]

[]       [][]     []       [][]     []       [][]

[]       [][]     []       [][]

[]       [][]

9-[][]  10-[][]  11-[--]  12-[--]  13-[--]  14-[--]  15-[2D]  16-[2d]

[]       [][]              [--]     [--]     [--]

[]       [][]                       [--]     [--]

[]       [][]                                [--]

[]       [][]

U300.130  Display Delay (hangup problems)

Some  display devices (X-terminals for example) may require a delay between

successive displays. If your device  "hangs  up"  or  produces  "incomplete

displays"  when  executing  LOOPS, you might try increasing the appropriate

delay. A range of 10 to 20000 miliseconds is accepted.

DLAF MS        ;Set FIG-delay     to MS   milliseconds (default=1000)

DLAF           ;Set FIG-delay     to 1000 milliseconds

DLAD MS        ;Set Display-delay to MS   milliseconds (default=500)

DLAD           ;Set Display-delay to 500  milliseconds

U300.150  Commands Related to 1-D Display

FIG  NF        ;Choose screen config-NF. See SEC# U300.120 & U300.550

;for screen configuration and color mapping commands

WIN  NW        ;Set subsequent displays to be in window-NW

LIN/LOG        ;Set display to linear/log  (default is linear)

PLON/PLOF      ;Turn peak logging ON/OFF (dflt OFF) see SEC# U300.155

ST /OV         ;Set to disp mult hist stacked/overlayed (dflt = OV)

CAL  A,B,C     ;Define energy calibration (E=A+B*Chan+C*Chan**2)

COL  I,J,K...  ;Defines color sequence for display

;For I,J.. = 1     2   3     4    5    6       7

;       COL= white,red,green,blue,yellow,magenta,cyan

GWID WID       ;Define cursor-mode sum-region width (channels)

DNOR LO,HI     ;Normalize displayed data to count-sum of chans LO,HI

DL   LO,HI     ;Set display limits (min,max chan#)

DMM  LO,HI     ;Set display limits (min,max counts)

;LO or HI = X  says use MIN or MAX data value

D    IDLST     ;Display histogram ID's contained in IDLST

DX   IDLST     ;Display IDLST (range defined by expand-region)

;IDLST format is   KF C ID, C ID.. KF C ID, C ID..

;C is an OPTIONAL floating-point norm-coeff (DFLT=1.0)

;KF = M,N,O,P,Q,R,S (default is N) and denotes:

;MEM-BUF, IN-FIL, OU-FIL, PROJ-FIL, Q-FIL, R-FIL, S-FIL

;If IDLST omitted, uses previously defined IDLST

SUML LO,HI     ;Define sum region for SUM command below

SUM  IDLST     ;Sum counts (LO,HI) (IDLST same as D except C illegal)

C              ;Enter cursor-mode

SSI            ;Set screen to initial - erase graphic windows

(continued on next page)

U300.150  Commands Related to 1-D Display (continued)

1-KEY CURSOR COMMANDS FOR 1-D DISPLAY .....................................

<-- (LF-ARROW) ;Set expand-region lo-limit

--> (RT-ARROW) ;Set expand-region hi-limit

V              ;Make marker display visible/invisible (toggles)

E              ;Expand display

M              ;Turn marker display ON

K              ;Turn marker display OFF (K is for kill)

UP-ARROW       ;Pan up   - move picture so cursor-chan at  left-screen

DN-ARROW       ;Pan down - move picture so cursor-chan at right-screen

;(you must be expanded to execute pan)

L              ;Set sum-region lo-limit

H              ;Set sum-region hi-limit

G              ;Set sum-region limits (LO=XCUR, HI=XCUR+WID-1)

S              ;Display sum, centroid, fwhm (2.354*sigma) of sum region

;DATA(LO),DATA(HI) defines BGD for NETS

A              ;Display sum, centroid, fwhm (2.354*sigma) of sum region

;YCUR(LO),YCUR(HI) defines BGD for NETS

C              ;Draw peak-marker and display chan#  at cursor pos

P              ;Draw peak-marker and display energy at cursor pos

/ or ?         ;Display XCUR, YCUR, channel# & energy

;              ;Same as ? except forces logging (see SEC# U300.155)

Q              ;Quit cursor-mode (return to normal-mode)

See SEC# U300.110 or Type: h mous for use of Mouse Buttons.

U300.155  Peak Finding/Logging

The following commands control peak finding.

FIND BIAS,IFWHM     ;Turn peak-find ON  (see definitions below)

FIND                ;Turn peak-find ON  (with defaults - see below)

NOFI                ;Turn peak-find OFF (default is OFF)

BIAS...is the number of standard deviations above background  that  a  peak

channel  must be in order to be considered as part of a peak. Useful

values of BIAS are in the range 3 to 10. The default value is 5.0.

IFWHM..is the approximate full-width at half-max (in channels) of peaks  in

the  region  of interest. This value is not very critical but should

be within a factor of 2 or so of  the  correct  value.  The  default

value is 5.

All  peaks  found  within  the display region will be marked & labeled with

the associated energy-calibration value (def_ault is the  same  as  channel

number).  Peak  labels are integers (no decimals - to minimize screen space

used) so if you want labels to be in units of keV, for  example,  you  must

enter CAL such that E(keV) is a whole number.

See SEC# U300.430 for how peak-finding is used in fitting operations.

Logging "found" and "marked" peaks on damm.log

Peaks  which  either  found  via  the  FIND command above or marked via the

1-key command (/ or ? or ;)  may  be  logged  on  damm.log.  The  following

commands (independent of LON/LOF) turns said logging ON and OFF.

PLON           ;Turns peak logging (to damm.log) ON

PLOF           ;Turns peak logging (to damm.log) OFF (default)

For found peaks, damm.log may be read (skipping prog, date & time) as:

READ(LU,10)IFLG,ID,CH,HEFT,(FILNAM(I),I=1,16)

10 (29X,A4,I10,2F10.0,2X,16A4)

Where: IFLG   = 'PEAK' for found peak log entry

ID     = Spectrum ID number

CH     = Peak location in channels

HEFT   = Peak heftiness

FILNAM = First 64 characters of spk- or his-filename

For marked peaks, damm.log may be read (skipping prog, date & time) as:

READ(LU,10)IFLG,ID,CH,ENER,(FILNAM(I),I=1,16)

10 (29X,A4,I10,2F10.0,2X,16A4)

Where: IFLG   = 'MARK' for marked peak log entry

ID     = Spectrum ID number

CH     = Peak location in channels

ENER   = Peak "energy" from calibration constants

FILNAM = First 64 characters of spk- or his-filename

U300.160  Commands Related to 2-D Display

FIG   NF       ;Choose screen config-NF. See SEC# U300.120 & U300.550

;for screen configuration and color mapping commands

WIN   NW       ;Set subsequent displays to be in window-NW

ZLEV  N        ;Set # of color/grey-scale intensity levels to N

ZLEV           ;Set # of color/grey-scale intensity levels to 10 (dflt)

GRAS  I,J,K..  ;Set grey-scale values (range 0-100) & ZLEV (# entries)

;Must do after first FIG  ("takes" after next FIG)

ZINT  COLR     ;Set 2-D intensity mapping to Color (default)

ZINT  GREY     ;Set 2-D intensity mapping to Grey-scale

ZINT  DOTS     ;Set 2-D intensity mapping to Dot-matrix (3x3 or 5x5)

ZSON/ZSOF      ;Z-scale ON/OFF - displays cnts vs colors legend (dflt)

ZLIN/ZLOG      ;Set 2-D display to linear/log (default is log)

XC    LO,HI    ;Set min & max X-channel numbers for display

YC    LO,HI    ;Set min & max Y-channel numbers for display

ZMM   LO,HI    ;Set min & max counts/channel    for display & count-sum

ZMM   LO       ;Sets min & searches for max (semi-autoscale)

ZMM            ;Searches for min & max      (full-autoscale)

DD       ID    ;Display 2-D histogram ID from IN-file

DD    KF,ID    ;Display 2-D histogram ID from KF-file

DDX      ID    ;Display 2-D histogram ID from IN-file (expand region)

DDX   KF,ID    ;Display 2-D histogram ID from KF-file (expand region)

;Where KF = N,O,Q,R,S (default is N) and denotes:

;IN-FIL, OU-FIL, Q-FIL, R-FIL, S-FIL

;ID (and KF) omitted says use previously defined spec

DDID           ;Shows ID-number & Filename for current 2-D display

ZBL            ;Zero in-core BAN-library

LBL            ;List in-core BAN-ID numbers

C              ;Enter cursor-mode

SSI            ;Set screen to initial - erase graphic windows

U300.160  Commands Related to 2-D Display (continued)

1-KEY CURSOR COMMANDS FOR 2-D DISPLAY .....................................

<-- (LF-ARROW) ;Set expand-region lo-left- limit

--> (RT-ARROW) ;Set expand-region hi-right-limit

V              ;Make expand markers visible/invisible (toggles)

E              ;Expand

1              ;Move display such that cursor is at lo-left

2              ;Move display such that cursor is at hi-left

3              ;Move display such that cursor is at hi-right

4              ;Move display such that cursor is at lo-right

Z              ;Zero  (open) active X,Y-list

A              ;Add point to active X,Y-list

D              ;Dele nearest point in active X,Y-list

M              ;Move nearest point in active X,Y-list to cursor pos

I              ;Insert a point in active X,Y-list at cursor position

L              ;List active X,Y-list (on VDT)

B              ;Draw active BAN & BAN's in in-core library

G              ;Prompt for ID & read into in-core BAN-library

O              ;Open nearest in-core BAN for modification

S              ;Prompt for ID & store in in-core library & on disk

R              ;Store  nearest BAN with original ID

F              ;Remove nearest BAN from in-core library & erase

K              ;Delete nearest BAN from in-core library and disk

T              ;Totalize counts in nearest BAN (active or not)

P              ;Totalize and & save X- & Y-projections on DAMQ8Q.SPK

/ or ?         ;Display X,Y-coordinates of cursor

Q              ;Quit cursor-mode (return to normal-mode)

See SEC# U300.110 or Type: h mous for use of Mouse Buttons.

U300.200  Command Syntax - General Definitions

B1   - Memory Buffer-1

B2   - Memory Buffer-2

ID   - The  ID-number of histogram to be read

NUID - Next ID-number to be assigned to output histogram

LO   - A first-channel-number (usually of a Gate)

HI   - A last- channel-number (usually of a Gate)

FAC  - A multiplication factor

Meaning of the individual command-characters ..............................

I    - Input  or read

O    - Output or write

A    - Add or accumulate

S    - Shift (gain shift)

GX   - Gate on X-parameter (i.e. parameter # 1)

GY   - Gate on Y-parameter (i.e. parameter # 2)

1    - Buffer-1

2    - Buffer-2

M    - Multiply

C    - Crunch

D    - Divide

U300.210  Commands for Setup (no immediate action)

NUID IV    - Set next ID to be used to IV

IDST N     - Set ID-step to be used in implied I/O loops

(remains active until changed - default=1)

CRUN IVAL  - Sets standard crunch value to IVAL

GASP XI1,XI2,XF1,XF2,NCF - Standard gain shift specification

SIDA       - Says treat 16-bit HIS-file data as signed

USDA       - Says treat 16-bit HIS-file data as un-signed (default)

U300.220  Commands for Input/Output of 1-D Histograms

I    ID            Input to B1

IS   ID            Input to B1, gain shift B1

IA   ID,FAC        Input to B1, B2=B2+FAC*B1

ISA  ID,FAC        Input to B1, shift  B1, B2=B2+FAC*B1

IO   ID            Input to B1, output B1

ISO  ID            Input to B1, shift  B1, output B1

IO   IDA,IDB       Input to B1, output B1     (for ID=IDA,IDB)

ISO  IDA,IDB       Input to B1, shift, output (for ID=IDA,IDB)

O1                 Output B1

O2                 Output B2

U300.230  Commands for Gating 2-D Histograms

GY   ID,LO,HI      Y-gate to B1

GYS  ID,LO,HI      Y-gate to B1, shift  B1

GYO  ID,LO,HI      Y-gate to B1, output B1

GYO  IDA,IDB,LO,HI Y-gate to B1,         output B1 (for ID=IDA,IDB)

GYSO ID,LO,HI      Y-gate to B1, shift & output B1

GYSO IDA,IDB,LO,HI Y-gate to B1, shift & output B1 (for ID=IDA,IDB)

GYA  ID,LO,HI,FAC  Y-gate to B1, B2=B2+FAC*B1

GYSA ID,LO,HI,FAC  Y-gate to B1, shift B1, B2=B2+FAC*B1

GX   ID,LO,HI      X-gate to B1

GXS  ID,LO,HI      X-gate to B1, shift  B1

GXO  ID,LO,HI      X-gate to B1, output B1

GXO  IDA,IDB,LO,HI X-gate to B1,         output B1 (for ID=IDA,IDB)

GXSO ID,LO,HI      X-gate to B1, shift & output B1

GXSO IDA,IDB,LO,HI X-gate to B1, shift & output B1 (for ID=IDA,IDB)

GXA  ID,LO,HI,FAC  X-gate to B1, B2=B2+FAC*B1

GXSA ID,LO,HI,FAC  X-gate to B1, shift B1, B2=B2+FAC*B1

O1                 Output B1

O2                 Output B2

U300.240  Commands for General 2-D Projections

PJ   ID,BID,DEGR               PROJ TO B1

PJS  ID,BID,DEGR               Proj to B1, shift  B1

PJO  ID,BID,DEGR               Proj to B1, output B1

PJO  IDA,IDB,BIDA,BIDB,DEGR -  Proj to B1, output B1

(outer loop on BID, inner loop on ID)

PJSO ID,BID,DEGR               Proj to B1, shift & output B1

PJSO IDA,IDB,BIDA,BIDB,DEGR -  Proj, shift, output

(outer loop on BID, inner loop on ID)

PJA  ID,BID,DEGR,FAC           Proj to B1, B2=B2+FAC*B1

PJSA ID,BID,DEGR,FAC           Proj to B1, shift B1, B2=B2+FAC*B1

PJAL                           Project all bananas in currently open

BAN-file for HIS-files, ID's & DEGR'S

contained therin

O1                             Output B1

O2                             Output B2

ID denotes histogram ID, BID denotes Banana ID

(DEGR = Projection-axis angle in degrees)

U300.250  Commands for Operations on Buffer-1 & Buffer-2

M1  XM             Multiply B1 by XM

M2  XM             Multiply B2 by XM

C1  ICRUN          Crunch B1  by ICRUN (standard crunch unchanged)

C2  ICRUN          Crunch B2  by ICRUN (standard crunch unchanged)

S1                 Shift  B1  by standard GASP

S2                 Shift  B2  by standard GASP

S1  XI1,XI2,XF1,XF2,NCF - Shift B1 as specified

(standard GASP unchanged)

S2  XI1,XI2,XF1,XF2,NCF - Shift B2 as specified

(standard GASP unchanged)

Z1                 Zero B1

Z2                 Zero B2

A12  FAC           B2=B2+FAC*B1

A21  FAC           B1=B1+FAC*B2

SWAP               Swap B1 & B2

M2D1 FAC           B2=(FAC*B2)/B1

O1                 Output B1

O2                 Output B2

U300.260  Commands which Show Data, Count-Sums etc (from Bufs-1 & -2)

PR1                Print   Buffer-1

PR2                Print   Buffer-2

D1   LO,HI         Display Buffer-1 (channels LO thru HI)

D2   LO,HI         Display Buffer-2 (channels LO thru HI)

SUM1 LO,HI         Display sum of counts LO-thru-HI of B1

SUM2 LO,HI         Display sum of counts LO-thru-HI of B2

COMP NCH           Compare first NCH-channels of B1 & B2

(gives # counts and # mis-matches)

GEN  ID,KO,KX,NCH  Generate test spectrum in B1 (NCH channels)

Channel contents = KO+KX*(channel#+1)

U300.270  Commands which Modify Buffer Contents

SET1 ICN,YV        Set channel ICN of B1 to YV

SET2 ICN,YV        Set channel ICN of B2 to YV

SET1 LO,HI,YV      Set channels LO-thru-HI of B1 to YV

SET2 LO,HI,YV      Set channels LO-thru-HI of B2 to YV

SET1 LO,HI,YA,YB   Set channels LO-thru-HI of B1 to YA-thru-YB

SET2 LO,HI,YA,YB   Set channels LO-thru-HI of B2 to YA-thru-YB

ADD1 ICN,YV        Add YV to channel ICN of B1

ADD2 ICN,YV        Add YV to channel ICN of B2

ADD1 LO,HI,YV      Add YV to channels LO-thru-HI of B1

ADD2 LO,HI,YV      Add YV to channels LO-thru-HI of B2

ADD1 LO,HI,YA,YB   Add YA-thru-YB to channels LO-thru-HI of B1

ADD2 LO,HI,YA,YB   Add YA-thru-YB to channels LO-thru-HI of B2

(i.e. a strait line)

U300.280  Commands Related to Printer Plots

SKRZ               Set to skip repeated-zeros for printer plots

PLRZ               Set to plot repeated-zeros for printer plots

PLG  ID,LO,HI,NCYC      - Input to B1 & LOG plot

PLN  ID,LO,HI,NCFS      - Input to B1 & LIN plot

PLG  IDA,IDB,LO,HI,NCYC - Input to B1 & LOG plot (for ID=IDA,IDB)

PLN  IDA,IDB,LO,HI,NCFS - Input to B1 & LIN plot (for ID=IDA,IBD)

PLG1 LO,HI,NCYC    Log    Printer-plot of Buffer-1

PLG2 LO,HI,NCYC    Log    Printer-plot of Buffer-2

PLN1 LO,HI,NCFS    Linear Printer-plot of Buffer-1

PLN2 LO,HI,NCYC    Linear Printer-plot of Buffer-2

(NCFS = # of counts full-scale for LIN plots)

(NCYC = # of cycles            for LOG plots)

U300.290  Discussion of Gain-Shifts and Compressions

Gain  shifts are specified by five parameters - XI1, XI2, XF1, XF2 and NCF.

XI1 and XI2 represent two locations (in channel-#  units)  in  the  initial

1-D  histogram  and  XF1  and  XF2 represent corresponding locations in the

final histogram (i.e. after the transformation). That is:

XF=A+B*XI

where,

B=(XF2-XF1)/(XI2-XI1)

and

A=XF1-B*XI1

NCF gives the number of channels in the histogram after the transformation.

If   NCF=0,   the   final   #-of-channels  is  determined  by  the  initial

#-of-channels NCI and the transformation specified.  If  NCF=-1  the  final

#-of-channels  is set equal to NCI. Counts are redistributed into the final

set of channels (bins) by assuming a uniform distribution of counts in  the

initial  bins. Data shifted below channel-#-0 and above channel-#-NCF-1 are

lost and gone forever.

Gain-shifts are always "in place"

CRUN IVAL (i.e. standard crunch) does it at "input time"

Data is kept internally as floating - is converted to fixed on output

All output from DAMM is 32 bits/channel

U300.300  Manipulation of HIS-files (Copy, Add, Gain-Shift, etc)

DAMM can copy, add (or subtract) and gain-shift 1-D or 2-D histograms  from

an input HIS-file to an output HIS-file.

(1)....All  operations  are  from  an  INPUT-file  and INPUT-ID (IDI) to an

OUTPUT-file and OUTPUT-ID (IDO).

(2)....For HCOP and HADD operations, the output  histogram  must  have  the

same dimensions and ranges as the input histogram.

(3)....For  SHIF  (gain-shift)  and SHAD (gain-shift & add) operations, the

dimensions of the output histogram need not match the input.

(4)....The number of bits-per-channel (16 or 32) need not be the  same  for

input and output.

(5)....Gain-shifts  are  accomplished  by  converting  the data to floating

point, rebinning (with count fractionation) and  finally  converting

back to integer.

(6)....Fractional copies and adds are also done in floating point.

(7)....Final  conversion  from  floating  point  to  integer  involves  the

addition of a  random  number  whose  range  is  0.0  to  1.0.  This

procedure  results  in  slight  differences  in  the total number of

counts for the input and output histograms.

Use CHIL to create output DRR-file and allocate HIS-file as usual.

HOU  DISK:FIL.HIS       - Opens HIS-file for output

HCOP IDI,IDO <,F>       - Copies F*IDI (input) to IDO (output)

(If F is not entered, F=1)

HADD IDI,IDO <,FI><,FO> - Adds FI*IDI to FO*IDO

(If FI is not entered, FI=1)

(If FO is not entered, FO=1)

(If FO is entered, FI must be entered)

HDIV IDI,IDO <,FI>      - Divides FI*IDI by IDO & saves in IDO

SHIF IDI,IDO <,FI>      - Gain-shifts IDI & stores in IDO

SHAD IDI,IDO <,FI><,FO> - Gain-shifts IDI & adds   to IDO

GSX  XI1,XI2 XF1,XF2    - Defines   X-gain-shift (described below)

GSY  YI1,YI2 YF1,YF2    - Defines   Y-gain-shift (described below)

GSXOF                   - Turns off X-gain-shift

GSYOF                   - Turns off Y-gain-shift

HSET IDO,IV             - Sets IDO on output-file to IV

HZOT IDO                - Sets IDO on output-file to 0

HSTA                    - Shows files open & gain-shift data

U300.300  Manipulation of HIS-files (continued)

X- and Y-Gain-shifts

X-gain-shifts are specified by the parameters - XI1, XI2, XF1 & XF2.

Y-gain-shifts are specified by the parameters - YI1, YI2, YF1 & YF2.

For an X-gain-shift, XI1 and XI2 represent  two  locations  (in  channel  #

units)  in  the  initial  spectrum  and XF1 and XF2 represent corresponding

locations in the final spectrum (i.e. after transformation). that is:

XF=A+B*XI

where:   B=(XF2-XF1)/(XI2-XI1)

and      A=XF1-B*XI1

The "final" # of channels is determined by the "initial" # of channels  and

the  transformation  specified. Counts are redistributed into the final set

of channels (bins) by assuming a uniform  distribution  of  counts  in  the

initial  bins.  Data  shifted  out  of the range of the final histogram are

lost and gone forever!

The rules and procedures are identical for Y-gain-shifts.

COMMENTS

(1)....If   gain-shift  specifications  are  not  given  (or  turned  off),

bin-widths will be the same for output and input.

(2)....Any data which does  not  fall  within  the  ranges  of  the  output

histogram will be lost (without comment).

(3)....Data  will  be  properly  positioned in the output histogram even if

the ranges of the input and output  are  different.  That  is,  data

will  appear  in  that region of the output histogram which overlaps

the gain-shifted input histogram.

U300.350  Bananas - Definition, Rules, Construction & Display

Free-form-gates (or Banana-gates - Bananas for short) are  2-D  regions  of

arbitrary  shape  which  are  specified  by a list of X,Y-points (channel-#

coordinates). Each Banana on a given BAN-file is  stored  and  recalled  by

means  of  an  identification  number (ID #). Attempts to store two Bananas

with the same ID will be rejected. The rules for Bananas are listed below:

(1) Banana coordinates nust be given in CLOCKWISE order.

(2) The Banana is formed by connecting X,Y-points with strait lines.

(3) The last point is connected to the first by the program.

(4) No line segment of the Banana should intersect another.

(5) A maximum of 63 points may be specified for any one Banana.

(6) A maximim of 880 Bananas may be stored on a given BAN-file.

Bananas may be displayed in two different forms (OPEN and CLOSED).

A CLOSED Banana is one which has just been recalled from  or  stored  on  a

BAN-file  (i.e.  there  is  an  exact image on disk). There may be up to 20

CLOSED Bananas displayed at once. You can do the following  things  with  a

CLOSED Banana:

GET      -  recall from disk (prompted for ID)     by typing  G

OPEN     -  for modification (change to OPEN)      by typing  O

FORGET   -  delete from display                    by typing  F

KILL     -  delete from display and BAN-file       by typing  K

TOTALIZE -  counts contained within Banana         by typing  T

PROJECT  -  (X & Y) and save on DAMQ8Q.SPK         by typing  P

An  OPEN  Banana  is one which is open for creation or modification. If the

Banana is being newly created there  will  be  no  corresponding  image  or

partial  image  on  a  BAN-file.  Only one such Banana can exist at a given

time. You can do the following things with a OPEN Banana:

ADD      -  X,Y-point at cursor position           by typing  A

INSERT   -  X,Y-point at cursor position           by typing  I

MOVE     -  nearest X,Y-point to cursor position   by typing  M

SAVE     -  on BAN-file (prompted for ID)          by typing  S

REPLACE  -  on BAN-file (with old ID)              by typing  R

ZERO     -  all X,Y-points                         by typing  Z

TOTALIZE -  counts contained within Banana         by typing  T

PROJECT  -  (X & Y) and save on DAMQ8Q.SPK         by typing  P

All Banana references are made in cursor mode.  ADD,  INSERT,  MOVE,  SAVE,

REPLACE  and  ZERO  refer only to the OPEN Banana. Other references (except

for GET) are made by moving the cursor such  that  it  is  closer  to  some

point  on  the  Banana  of  interest  than  it is to any point on any other

Banana.

ALL BANANAS MUST BE CONSTRUCTED IN CLOCKWISE ORDER

U300.360  Bananas - Projections

Projections via the PJ-command

Data which fall within and on the boundries of a Banana are projected  onto

the  X-axis  of  a coordinate system which is rotated through an angle DEGR

with respect to the systen in which  data  channel-#  (0,0)  falls  at  the

origin  and  the first and second indices of the histogram array define the

X- and Y-axis, respectively. Channel-# XP in  the  projected  histogram  is

calculated  from channel-# X,Y in the 2-D histogram by an expression of the

following form:

XP=A+COS(DEGR)*X+SIN(DEGR)*Y

where,

A=0.0                               For DEGR =   0 -  90

A=-COS(DEGR)*XMAX                   For DEGR =  90 - 180

A=-COS(DEGR)*XMAX-SIN(DEGR)*YMAX    For DEGR = 180 - 270

A=-SIN(DEGR)*YMAX                   For DEGR = 270 - 360

XMAX and YMAX are the "dimensions" of the  2-D  histogram.  The  effect  of

this  transformation  is  to  make  all  channel  numbers  in the projected

histogram positive.

NOTE:  The  "length"  of  the  projected  histogram  may  be  as  large  as

SQRT(XMAX**2+YMAX**2).

Projections via the P-command

Each  time  DAMM  is  executed  it  will  create  a new version of the file

DAMQ8Q.SPK for the storage of projections. The  file  is  only  created  if

projrctions are actually made.

When  you  project  a  Banana,  both  X-  and  Y-projections  are stored on

DAMQ8Q.SPK under the ID-numbers displayed.  These  1-D  histograms  may  be

displayed  (or otherwise used) in the normal manner for a SPK-file. Use the

P-qualifier   to  display  spectra  from  DAMQ8Q.SPK  without  explicitally

opening it. For example, to display ID numbers 1,3,5 from DAMQ8Q.SPK, type:

D P 1,3,5

U300.400  FITTING - Introduction & General Features

You specify how fitting is to be carried out by supplying a number  of  Fit

Specification  Data  Sets  which  may  be given in any order. Many of these

have default values (see SEC#  U300.450).  After  the  fitting  process  is

specified,  one or more Fit Requests are entered. Subsequently, some or all

of the Fit Specifications may be changed  and  more  Fit  Requests  entered

etc. etc.

GENERAL FEATURES

(1)....Fit  specifications may be entered interactively or read from a file

or a combination of the two methods may be used.

(2)....Peak and background intensities are determined in a weighted  linear

least-squares  fit  while  peak  positions,  widths,  and  asymmetry

parameters are  determined  by  a  non-linear  least-squares  search

(either  Gradient  search  or  Gauss method - See SEC#s U300.480 and

U300.490).

(3)....Peak positions may be typed in or selected  interactively  or  found

automatically.

(4)....Spectra  are  fitted  one  section at a time and can be no more than

512 channels in length.

(5)....In the gradient search mode (FIT command), each section may  contain

a  total  of  16  peaks and background terms. That is, the number of

linear coefficients to be determined in  the  linear  least  squares

fit  (#  of  peaks plus # of background terms) may not exceed 16. In

the Gauss mode, only 5  peaks  are  allowed  and  asymmetry  is  not

supported.

(6)....Initial  values  of  peak positions, widths and asymmetry parameters

must be specified  by  the  user.  Different  values  of  width  and

asymmetry  may be assigned to each peak or all peaks may be assigned

the same values.

(7)....The   FWHM   for   peaks   in  a  section  may  vary  independently,

conditionally, or be held fixed. All  peaks  in  a  section  may  be

forced to have the same width or fixed relative widths.

(8)....Peak positions may be adjusted or held fixed.

(9)....Peaks may be gaussian or asymmetric (see SEC# U300.470 & U300.530

(10)...The  background  may  be  specified  (by  up to 50 X,Y-points) or be

determined in the fit. If determined  in  the  fit,  the  background

takes  the  form,  Y  = A + B*X + C*X*X + D*X*X*X + . . . . with the

number of terms in the power series specified by the user.

(11)...The output includes the  Fit  Specification  Data,  peak  positions,

widths,  energies, areas and uncertainties (in percent) as well as a

printer plot of the fit on a 0.5 to 5 cycle plot.

U300.410  Commands for 1-key (cursor mode)

One-Key cursor commands (valid following a DS or DSX command)

Type: C  - To enter cursor-mode

P/UP   Add/Delete peak to Library (pos specified by cursor)

M/M    Move nearest displayed peak to cusor pos (FW, ASYM unchanged)

X/UX   Fix/Free  peak position (for displayed peak nearest to cursor)

W/UW   Fix/Free  peak width    (for displayed peak nearest to cursor)

L/UL   Fix/Free  Lo-Side ASYM  (for displayed peak nearest to cursor)

H/UH   Fix/Free  Hi-Side ASYM  (for displayed peak nearest to cursor)

O/UO   Turn peak  ON/OFF       (for displayed peak nearest to cursor)

B/UB   Add/Delete background point at cursor position

<--    Set Expand Region   Lo-Limit

-->    Set Expand Region   Hi-Limit

[      Set Fit Region      Lo-Limit

]      Set Fit Region      Hi-Limit

/ or ? Display chan#, cursor Y-value, chan contents

S      Disp sum, cent & fwhm of Fit-Reg - DAT([),DAT(]) defines BGD

A      Disp sum, cent & fwhm of Fit-Reg - CUR([),CUR(]) defines BGD

Q      Return from cursor control routine

E      Expand display (region defined by <--  -->)

See SEC# U300.110 or Type: h mous for use of Mouse Buttons.

U300.420  Setup Commands

Commands for entry of peak, background & skip-regions ---------------------

PZOT                   - Zero the Peak Library

PK     X,W,ASLO,ASHI   - List of complete peak specifications

BZOT                   - Delete Fixed Background array

BACK   X1,Y1 X2,Y2 ..  - X,Y-points for fixed background

SKIP                   - Without List turns SKIP OFF

SKIP   I1,I2 J1,J2 ..  - Up to 4 regions to omit from Fit

Commands for defining FWHM, ASYM, WLIM, ALIM, NBC, WOOD, ECAL -------------

FW     FWA,FWB,FWC     - Coefficients for standard width function

WLIM   FWLO,FWHI       - Variation limit factors for peak widths

ASYM   ASLO,ASHI       - Standard Lo-Side and Hi-Side asymmetries

ALIM   FALO,FAHI       - Variation limit factors for peak asymmetries

NBC    NBC             - Number of power series terms in variable BGD

WOOD   ON/OFF          - Turn Woods-Saxon BGD term ON/OFF (default OFF)

- ON creates an additional background component

- with a Woods-Saxon "jog" under each peak which

- is porportional to the peak intensity.

ECAL   ECO,ECA,ECB     - Coefficients for standard energy calibration

Commands for control of non-linear parameter variation --------------------

DPX    XSTEP,DXMAX     - Initial step size and limit for peak pos

DEL    DEL,DELFAC,NDEL - Initial step size, step size multiplier and

- number of DEL-values to use

VB                     - Use Variable Background (the default)

FB                     - Use Fixed Background if available

VX     KVAR            - Kind of variation for peak positions

VW     KVAR            - Kind of variation for peak widths

VALO   KVAR            - Kind of variation for Lo-Side asymmetries

VAHI   KVAR            - Kind of variation for Hi-Side asymmetries

KVAR = UIND     - says vary Unconditionally, Independently

= CIND     - says vary   Conditionally, Independently

= ULOC     - says vary Unconditionally, Locked

= CLOC     - says vary   Conditionally, Locked

= FIX      - says keep Fixed - this the default assignmemt

Conditional says hold Fixed if peak so specified.

Unconditional says vary regardless of peak specifications.

Independent says given parameter-types are varied independently.

Locked says given parameter-types (width for example) are  varied  together

(multiplied by the same factor) in the non-linear search.

U300.430  Display of Data, Fits and Printer-plots

Commands for general display control --------------------------------------

FIG    N           - Select screen configuration number-N

WIN    N           - Select window-N for subsequent displays

LIN/LOG            - Set graphic display to LIN (default) or LOG

DMM    YMIN,YMAX   - Set display-range (YMIN & YMAX)

DL     ILO,IHI     - Set display-range (channel# limits)

DS     ID          - Display spectrum# ID (range defined by DL)

DS     ID,ILO,IHI  - Display spectrum# ID (DL values replaced)

(MAX value of IHI-ILO = 4095)

DSX    ID          - Display Data defined by Expand Region

C                  - Enters 1-key cursor-mode

Commands related to display of FITS ---------------------------------------

MON/MOF            - Peak Markers ON/OFF for DF (default = ON)

DFI                - Set to display (DF ) DATA,FIT,BGD (default)

DPK                - Set to display (DF ) DATA,FIT,PEAKS,BGD

DPPB               - Set to display (DF ) DATA,FIT,(PEAKS+BGD),BGD

DF                 - Display Fit (channel-limits given by Fit-range)

DF     ILO,IHI     - Display Fit (channel-limits given by ILO,IHI)

DC     NPK         - Display Calculated peak #  NPK+ RESIDUAL

PRP    XLO,XHI     - Display peaks from Library in range XLO thru XHI

PRP                - Display all peaks from Library

PRB                - Display all fixed Bgd-points

FSTAT              - Display current fit-parameters

DR                 - List results of last Fit on VDT (terminal)

Commands related to printer-plots of results ------------------------------

KPPL   NONE        - Says do no printer plots

KPPL   FITS        - Says plot FITS only (the default)

KPPL   ALL         - Says plot FITS, COMPONENTS and RESIDUALS

PR                 - Print and Plot results of last Fit on printer

Commands related to peak-finding ------------------------------------------

FIND  BIAS,FWHM    - Enables  peak-finding (see SEC# U300.155)

FIND               - Enables  peak-finding with (BIAS=5, FWHM=5)

NOFI               - Disables peak-finding

If  FIND is enabled (see SEC# U300.155 for general details), DAMM will do a

peak find within the display region each time a  DS  (or  DSX)  command  is

given.  An  attempt  will  then be made to add the newly found peaks to the

internal peak library. If a  newly  found  peak  is  closer  than  0.5*FWHM

channels  to  an  existing library peak, it will not be added. Finally, all

library peaks will be marked  on  the  display  in  the  usual  manner.  No

distinction is made between "found peaks" and "manually entered peaks".

U300.440  FIT Execution Commands

Commands for FIT execution ------------------------------------------------

FIT    ID,ILO,IHI  - Fit Request - (non-linear gradient search)

GFIT   ID,ILO,IHI  - Fit request - (gaussian method)

RFIT   ID,ILO,IHI  - Resume FIT/GFIT start with Parms from last Fit

LFIT   ID,ILO,IHI  - Linear Fit - no non-linear search

- (Fit-range specified by ILO,IHI)

FIT    ID X        - Fit Range specified by cursors (Fit Region)

GFIT   ID X        - Fit Range specified by cursors (Fit Region)

RFIT   ID X        - Fit Range specified by cursors (Fit Region)

LFIT   ID X        - Fit Range specified by cursors (Fit Region)

Ctrl/C             - Terminates Fit-in-prograss (VAX)

U300.450  FIT Parameters - Saving, Setting, Default

Commands which save FIT parameters in memory library ----------------------

SAV    I,J  - Save all Parms from peaks I thru J of last Fit in PK-LIB

SAX    I,J  - Save X-Parms   for  peaks I thru J of last Fit

SAW    I,J  - Save W-Parms   for  peaks I thru J of last Fit

SAL    I,J  - Save ASL-Parms for  peaks I thru J of last Fit

SAH    I,J  - Save ASH-Parms for  peaks I thru J of last Fit

(If I,J ommitted, indicated Parms from ALL peaks are saved)

Commands which set FIT parameters -----------------------------------------

SET- X1,X2          - Set STD WIDTH and ASYM for peaks in range X1-X2

values (defined by FWA, FWB, FWC, ASLO, ASHI)

SETW X1,X2          - Set WIDTH for peaks in range X1-X2 to STD value

SETW X1,X2,WA,WB,WC - Set WIDTH for peaks in range X1-X2 to value

defined by WA,WB,WC (FWA,FWB,FWC unchanged)

SETL X1,X2          - Set ASLO  for peaks in range X1-X2 to STD value

SETL X1,X2,ASLOT    - Set ASLO=ASLOT for peaks in range X1-X2

SETH X1,X2          - Set ASHI  for peaks in range X1-X2 to STD value

SETH X1,X2,ASHIT    - Set ASHI=ASHIT for peaks in range X1-X2

(If X1,X2,.. omitted, indicated Parms for ALL peaks are set)

List of default FIT parameters --------------------------------------------

DEL   = 0.05    FWLO = 0.5      VX   = CIND    NBC  = 2

DELFAC=0.25     FWHI = 2.0      VW   = CLOC    WOOD = OFF

NDEL  = 1       FALO = 0.5      VALO = FIX     KPPL = FITS

XSTEP = 0.5     FAHI = 2.0      VAHI = FIX

DXMAX = 5.0     ASLO = 0.0

ASHI = 0.0

U300.460  FIT Specification Details

PK  Data Set - Complete Peak Specifications

The  PK Data Set accomodates a full specification of the characteristics of

each individual peak. Up to 100 peaks may be included  in  the  list.  Each

peak is specified by the following parameters.

X......Gives the initial peak position in channels.

W......Specifies  the  initial  peak FWHM in channels. If not entered, FWHM

is set to the value specified by FWA, FWB & FWC.

ASLO...Specifies the Lo-Side asymmetry parameter.

ASHI...Specifies the Hi-Side asymmetry parameter.

Other Specifications

ECO,ECA,ECB...Defines the spectrum energy  calibration  (not  required  for

fitting) through the relation;

E = ECO + ECA*(CHAN #) + ECB*(CHAN #)**2

FWA,FWB,FWC...Defines  the  peak  WIDTH  as  a  function  of channel number

through the relation;

FWHM(CHANNELS)=FWA+FWB*SQRT(CHAN #)+FWC*(CHAN #)

ASLO,ASHI...Are the initial values of the  Lo-Side  and  Hi-Side  asymmetry

parameters.  If  this specification is used, the initial values will

be the same for all peaks.

FWLO...Is the minimum fraction of the initially specified  value  by  which

any peak width may be reduced.

FWHI...Is  the  maximum  fraction of the initially specified value by which

any peak width may be increased.

FALO...Is the minimum fraction of the initially specified  value  by  which

any peak asymmetry parameter may be reduced.

FAHI...Is  the  maximum  fraction of the initially specified value by which

any peak asymmetry parameter may be increased.

U300.460  FIT Specification Details (continued)

DEL....Specifies the  fraction  by  which  the  peak  width  and  the  peak

asymmetry  parameters  are  to  be  changed in each step of the non-

linear search. For example,

(NEW WIDTH) = (OLD WIDTH)*(1.0+-DEL)

DELFAC-Is a factor by which the current  value  of  DEL  is  multiplied  in

order  to  obtain a new (smaller) value. Typically one starts with a

fairly large value of DEL (say 0.02 to 0.05) and subsequently  makes

one  or  more  reductions  in order to achieve a greater convergence

speed.

NDEL...Is the number of DEL-values to be used

XSTEP..Is the maximum amount (in channels) that a peak may be moved in  any

one  step  in  the  non-linear  search  for  the  best fit. XSTEP is

reduced at the same time and by the same factor  (DELFAC)  that  DEL

is reduced.

DXMAX..Is  the  maximum number of channels (either + or -) that any peak is

allowed to be moved from its original position.

SKIP...Defines up to four regions within the Fit  Range  which  are  to  be

ignored in doing the fit.

KPPL=..NONE says do no printer plots.

KPPL=..FITS  says plot the FIT (experimental and calculated spectrum on the

same graph).

KPPL=..ALL says plot the FIT (as in KPPL...=FITS)  and  in  addition,  plot

each  component  (calculated  peak)  together with the corresponding

"residual component". What do you mean by  residual  component,  you

ask.  When  plotting  the  Ith  peak  we  calculate the Ith residual

component by subtracting any background  (specified  or  calculated)

as  well  as  all  calculated  peaks  other  than  the  Ith from the

experimental spectrum.

NBC....Denotes the number of background components to be  included  in  the

power  series.  NBC=2  Says  use the form Y=A+B*X and NBC=4 says use

Y=A + B*X + C*X*X + D*X*X*X. The number of peaks in a  section  plus

NBC must not exceed 16.

WOOD...ON/OFF  says turn Woods-Saxon background term ON/OFF. The default is

OFF. If WOOD is ON, an additional background component  is  included

which  has  a  Woods-Saxon  type  "jog"  under  each  peak  which is

porportional to the peak intensity. The jog form is given by:

Y    =  1.0/(1.0+EXP(ARG))    ;where

ARG  =  4.714*(X0-X)/FWHM     ;and

X0=peak-position, X=channel-of-interest, and FWHM=peak-FWHM.

The use of such a background form could be helpful in  the  analysis

of  weak  peaks  which  are located on the low-energy side of strong

peaks. You will have to be the judge.

U300.470  Discussion of Peak Shapes

The most general peak shape allowed is given by

YL=EXP(-(X-XO)**2/(A**2*(1+ASLO*(X-XO)/A)

YH=EXP(-(X-XO)**2/(A**2*(1+ASHI*(X-XO)/A)

Where A is the gaussian Half-Width at 1/e max and YL and  YH  describe  the

curve  on  the  Lo- and Hi-Sides, respectively. If all asymmetry parameters

are held to zero, the shape is gaussian. The ASLO/ASHI  parameters  broaden

the  Lo/Hi  sides  of  the peak and result in an expodential fall-off (like

EXP(-(X-X0)/(A*ASLO)) for example) As you  move  far  away  from  the  peak

maximum  (i.e.  channel  XO).  To  get  some  idea  of  what size asymmetry

parameters to use see Fig 1.

U300.480  Gradient-search Method (FIT request)

Each time the program encounters a Fit Request, it  searches  the  complete

Library  and includes in the Fit all peaks which are ON and whose positions

lie within the Range of Fit (i.e. between ILO and IHI).

GENERAL PROCEDURE FOR THE NON-LINEAR SEARCH

(1)....The initial values  of  all  parameters  which  are  to  vary  in  a

non-linear way are set to the initial values specified by the user.

(2)....Each  individual parameter is changed (both increased and decreased)

by an amount determined by DEL or XSTEP  in  order  to  establish  a

"direction" (increase or decrease) for each parameter.

(3)....All  parameters  are changed in the direction determined in step (2)

and in step sizes determined by DEL and XSTEP until the  Quality  of

Fit is no longer improved.

(4)....Steps  (2)  and  (3) are repeated until no improvment in the Fit can

be made

(5)....DEL and XSTEP are multiplied by DELFAC and steps  (2)  and  (3)  are

repeated until no improvment in the Fit can be made.

(6)....Step (5) is repeated (NDEL-1) times.

U300.490  Gaussian Method (GFIT request)

The  GFIT  (Gauss-method)  fit  request  initiates  an alternate non-linear

procedure. Commands are:

GFIT ID,ILO,IHI

or

GFIT ID X

This command initiates a nonlinear least-squares search  by  Gauss'  method

as  modified by Marquardt.  (See, for example, P.R. Bevington's book, "Data

Reduction and Error Analysis for the Physical Sciences", p.  235  ff.   The

routines  used in GFIT are not Bevington's, but are those of M.J. Saltmarsh

from the SEL 840-A program PKFT.)

The search continues until chi-squared per  degree  of  freedom  (QFN)  has

changed  by  less  than  0.0001  or until 25 iterations have occurred.  The

search may be resumed by the RFIT command.  The  iteration  number  and QFN

appear on the right side of the screen.

The  printer  output  from  GFIT  includes absolute error estimates for the

peak positions, widths, and areas which are derived  from  the  correlation

matrix  of  the  fit.   The  percentage error in the area is printed in the

column labeled PCE.

The DAMM commands VW ULOC or VW CLOC (the default  option)  ae  interpreted

to  mean that the widths of the peaks are to be the same and vary together.

Widths may be varied independently by  VW  UIND  or  VW  CIND.   Individual

widths  or  positions  may  be  frozen  or  released by the standard cursor

commands of DAMM.  If one or more widths are to be kept fixed  while others

are varied, the command VW CIND or VW CLOC should be given; if UIND or ULOC

is given, the instruction to fix is ignored.

If  GFIT  is  chosen,  the  program  attempts  to estimate the width of the

tallest peak for its initial guess of width.   If  unsuccessful  it reverts

to  the  standard DAMM procedure of using whatever was stored from the last

previous FW, SETW commands (or the default option, which is FW = 5).

At present The GFIT request is  limited  to  fitting  a  sum  of  up  to  5

Gaussian  peaks with a linear background.  The parameters ASLO and ASHI for

asymmetric peaks are ignored.

U300.500  Estimated Uncertainties in Peak Areas

Estimated   uncertainties   should   always  be  viewed  with  considerable

skepticism,   especially   when  non-linerar  as  well  as  linear  fitting

processes are involved, as it is here. The uncertainties in the peak  areas

estimated  by  both  the  FIT and GFIT procedures are rather "standard" and

involve CHISQ (of the overall fit) as well  the  diagonal  element  of  the

inverse  matrix  corresponding  to  the  peak  intensity  in question. This

inverse matrix is  found  in  the  standard  linear  least-squares  fitting

process.  See  a  book  like "Bevington" or Cziffra et. al. UCRL-8523, 1958

for a real discussion of this subject. I have used:

D(J) = SQRT(AINV(J,J)*QFN)     where;

D(J)      = the estimated uncertainty in the J-th fit parameter B(J)

(there is a B(J) for each peak-area(J))

QFN       = CHISQ/(#data-points  -  #adjustable-parameters)

AINV(J,J) = the J-th diagonal element of the inverse matrix found in the

linear least-squares fitting process.

PCE(J)    = 100*D(J)/B(J)  =  percent uncertainty in J-th peak-area.

U300.510  Reading Fit Results from damm.log

The table of fit-results  recorded  on  damm.log,  as  a  result  of  a  PR

command,  includes  flags  of the form LAB$ to facillitate the location and

decoding of relevant data by other programs. Formats  associated  with  the

different line-labels are listed below.

Label  Format

TIT$   (1X,15X,2I6,6X,20A4)

DEL$   (1X,2F10.0,I10,6F10.0)

SKP$   (1X,8I10)

CAL$   (1X,8F10.0,I10)

VAR$   (1X,6(6X,A4),I10)

FIT$   (1X,5F10.0,3F8.0,4F7.0,I5,I7)

GFI$   (1X,5F10.0,3F8.0,4F7.0,I5,I7)

BGD$   (1X,2F10.2)

QFN    (1X,6X,F10.0,11X,F10.0)

Alternatively,  one  may  make  use  of  the  routines  contained  in   the

internally  documented  demonstration  program  samred.  The source of this

program is in /usr/users/milner/Ddamm/samred.f.

U300.520  Common Problems

(1)....If you define the standard FWHM (via  command:  FW  FWA,FWB,FWC)  or

standard  asymmetry  parameters  (via command: ASYM ASLO,ASHI), this

does not re-define such parameters  for  previously  defined  peaks.

You must use SETW to do this (see SEC# U300.450).

U300.530  Peak Shape vs Asymmetry (Log plot)

YL=EXP(-(X-XO)**2/(A**2*(1+ASLO*(XO-X)/A)

YH=EXP(-(X-XO)**2/(A**2))

Y = 100  ------------------------------------------------------------------

SYMBOL  ASLO                            0

0   0.0                          11 00

2   0.2                         1     0

4   0.4                        1

6   0.6                       10       0

8   0.8                      14

1   1.0                     140         0

162

FWHM = 12                    1640           0

18 2

1864

20             0

1864

186

1   420               0

1 86

8  4

1  6  20                 0

1 8  4

1 8 6  2

1 8 6 4  0                   0

1

8 6 4 2

Y = 10  ------------------- 1 8 -------------------------------------------

1    6     0                     0

1  8    4 2

6

1  8    4

1  8  6    2

0                       0

1  8  6  4

1

1   8  6     2

8      4

1               0                         0

1   8   6  4

2

1   8   6

1           4

1    8   6

8           2  0                           0

1        6   4

1    8

6

1    8        4   2

Y = 1   -------------------------------------------------------------------

Figure 1

U300.550  Screen Configurations

The  sizes  and  locations of display windows are controlled by one or more

of the commands - FIG, FIGF or FIGI.

FIG ID - Sets the number and size of display windows to that specified

by configuration number ID. A given configuration ID number

may specify up to 20 display windows. The default configuration

library contains ID-numbers 1 thru 16. Type: H FIG for a

display indicating the default sceen configurations or just

Type: FIG 1, FIG 2 ... FIG 16 and see what you get.

FIGF FILENAME - Requests that a new configuration library be read from

a file named FILENAME. The file U1:[MILNER.XWIN]XFIG1.DAT

which contains the default configuration is listed on the next

next two pages. The **** in col-1 of the table denote comment

lines and are ignored in processing.

****DEFAULT SCREEN-CONFIGURATION TABLE

****--------------------------------------------------

****FIG-ID   X0(PIX)   Y0(PIX)    W(PIX)    H(PIX)

1        30        84       540       480

****

2         0        39       480       480

2       495        39       480       480

****

3        30       369       540       300

3        30        39       540       300

3       585        39       390       390

****

4         0       369       480       300

4         0        39       480       300

4       495       369       480       300

4       495        39       480       300

****

5        30       489       480       195

5        30       264       480       195

5        30        39       480       195

5       525        39       435       435

****

6         0       489       480       195

6         0       264       480       195

6         0        39       480       195

6       495       489       480       195

6       495       264       480       195

6       495        39       480       195

****

7        30       534       480       135

7        30       369       480       135

7        30       204       480       135

7        30        39       480       135

7       525        39       435       435

****DEFAULT SCREEN-CONFIGURATION TABLE (continued)

****FIG-ID   X0(PIX)   Y0(PIX)    W(PIX)    H(PIX)

8         0       534       480       135

8         0       369       480       135

8         0       204       480       135

8         0        39       480       135

8       495       534       480       135

8       495       369       480       135

8       495       204       480       135

8       495        39       480       135

****

9        30       579       480       105

9        30       444       480       105

9        30       309       480       105

9        30       174       480       105

9        30        39       480       105

9       525        39       435       435

****

10         0       579       480       105

10         0       444       480       105

10         0       309       480       105

10         0       174       480       105

10         0        39       480       105

10       495       579       480       105

10       495       444       480       105

10       495       309       480       105

10       495       174       480       105

10       495        39       480       105

****

11         0        39       960       525

****

12         0       354       960       270

12         0        54       960       270

****

13         0       489       960       195

13         0       264       960       195

13         0        39       960       195

****

14         0       549       960       135

14         0       384       960       135

14         0       219       960       135

14         0        54       960       135

****

15       240        39       750       750

****

16         0        39       645       645

---------------------------------------------------------------------------

FIG-ID  = Configuration ID number to be associated with window.

X0(PIX) = X-coordinate of upper left corner of window in pixels.

Y0(PIX) = Y-coordinate of upper left corner of window in pixels.

W(PIX)  = Width  of window in pixels.

H(PIX)  = Height of window in pixels.

FIGI   Restores the configuration library to the default state.

U300.560  Graphic Screen Color Mapping

The colors (or grey scale) is controlled by means of a color map which  has

40  entries  that  specify  (red,  green,  blue)  intensities  in the range

0-65535.   The   default  table  contained  in  /usr/hhirf/cmap.dat  or  in

U1:[MILNER.XWIN]CMAP.DAT is listed below:

RED  GREEN   BLUE   ;ENTRY# - NORMAL USE ------------------------------

0         0         0  ;01 - BLACK

65535  65535  65535  ;02 - 1-D DISPLAY - COL(1) - FIT DATA

65535         0         0  ;03 - 1-D DISPLAY - COL(2)

0  65535         0  ;04 - 1-D DISPLAY - COL(3) - FIT CALC

0         0  65535  ;05 - 1-D DISPLAY - COL(4)

65535  65535         0  ;06 - 1-D DISPLAY - COL(5) - FIT BACK

65535         0  65535  ;07 - 1-D DISPLAY - COL(6)

0  65535  65535  ;08 - 1-D DISPLAY - COL(7)

65535  65535         0  ;09 - 1-D DISPLAY - COL(8)

65535  65535         0  ;10 - NOT USED FOR NOW

0         0  32767  ;11 - 2-D COLOR DISPLAY

0         0  65535  ;12 - 2-D COLOR DISPLAY

32767         0  32767  ;13 - 2-D COLOR DISPLAY

65535         0  65535  ;14 - 2-D COLOR DISPLAY

32767         0         0  ;15 - 2-D COLOR DISPLAY

65535         0         0  ;16 - 2-D COLOR DISPLAY

32767  32767         0  ;17 - 2-D COLOR DISPLAY

65535  65535         0  ;18 - 2-D COLOR DISPLAY

32767  32767  32757  ;19 - 2-D COLOR DISPLAY

65535  65535  65535  ;20 - 2-D COLOR DISPLAY

15000  15000  15000  ;21 - 2-D GREY-SCALE DISPLAY

20600  20600  20600  ;22 - 2-D GREY-SCALE DISPLAY

26200  26200  26200  ;23 - 2-D GREY-SCALE DISPLAY

31800  31800  31800  ;24 - 2-D GREY-SCALE DISPLAY

37400  37400  37400  ;25 - 2-D GREY-SCALE DISPLAY

43000  43000  43000  ;26 - 2-D GREY-SCALE DISPLAY

48600  48600  48600  ;27 - 2-D GREY-SCALE DISPLAY

54200  54200  54200  ;28 - 2-D GREY-SCALE DISPLAY

59800  59800  59800  ;29 - 2-D GREY-SCALE DISPLAY

65535  65535  65535  ;30 - 2-D GREY-SCALE DISPLAY

32767  32767  32767  ;31 - NOT USED FOR NOW

32767  65535  65535  ;32 - NOT USED FOR NOW

65535         0         0  ;33 - NOT USED FOR NOW

65535  65535  65535  ;34 - GCOR(1)

65535         0         0  ;35 - GCOR(2), SAM PK MARK,  FIT VAR MARK

0  65535         0  ;36 - GCOR(3), 1-D PK LAB, 2-D BAN & EX-MARK

0         0  65535  ;37 - GCOR(4), 1-D REG MARK, FIT VAR MARK

65535  65535         0  ;38 - GCOR(5), CURSOR

65535         0  65535  ;39 - GCOR(6)

0  65535  65535  ;40 - GCOR(7)

Different color mapping is accomplished by the CMAP command as shown below:

CMAP FILENAME  ;Processes a file FILENAME of the structure shown above

;and maps as  specified  therein.  The new mapping only

;takes place subsequent to the next FIG command.

U300.570  Graphic Screen Black & White Mapping

When using black &  white  monitors,  the  table  /usr/hhirf/bmap.dat,  (or

U1:[MILNER.XWIN]BMAP.DAT)  listed  below,  may  be  more useful. If you are

using   the    REVV    mode,    then    table    /usr/hhirf/bmapr.dat    or

U1:[MILNER.XWIN]BMAPR.DAT,  not  listed here, should be used as a template.

You will probably need to  make  other  adjustments  in  order  to  achieve

semi-satisfactory  results. Note: that table entries are labeled with their

uses.

RED  GREEN   BLUE   ;ENTRY# - NORMAL USE ------------------------------

0         0         0  ;01 - BLACK

65535  65535  65535  ;02 - 1-D DISPLAY - COL(1) - FIT DATA

65535  65535  65535  ;03 - 1-D DISPLAY - COL(2)

65535  65535  65535  ;04 - 1-D DISPLAY - COL(3) - FIT CALC

65535  65535  65535  ;05 - 1-D DISPLAY - COL(4)

65535  65535  65535  ;06 - 1-D DISPLAY - COL(5) - FIT BACK

65535  65535  65535  ;07 - 1-D DISPLAY - COL(6)

65535  65535  65535  ;08 - 1-D DISPLAY - COL(7)

65535  65535  65535  ;09 - 1-D DISPLAY - COL(8)

65535  65535  65535  ;10 - NOT USED FOR NOW

0         0  32767  ;11 - 2-D COLOR DISPLAY

0         0  65535  ;12 - 2-D COLOR DISPLAY

32767         0  32767  ;13 - 2-D COLOR DISPLAY

65535         0  65535  ;14 - 2-D COLOR DISPLAY

32767         0         0  ;15 - 2-D COLOR DISPLAY

65535         0         0  ;16 - 2-D COLOR DISPLAY

32767  32767         0  ;17 - 2-D COLOR DISPLAY

65535  65535         0  ;18 - 2-D COLOR DISPLAY

32767  32767  32757  ;19 - 2-D COLOR DISPLAY

65535  65535  65535  ;20 - 2-D COLOR DISPLAY

15000  15000  15000  ;21 - 2-D GREY-SCALE DISPLAY

20600  20600  20600  ;22 - 2-D GREY-SCALE DISPLAY

26200  26200  26200  ;23 - 2-D GREY-SCALE DISPLAY

31800  31800  31800  ;24 - 2-D GREY-SCALE DISPLAY

37400  37400  37400  ;25 - 2-D GREY-SCALE DISPLAY

43000  43000  43000  ;26 - 2-D GREY-SCALE DISPLAY

48600  48600  48600  ;27 - 2-D GREY-SCALE DISPLAY

54200  54200  54200  ;28 - 2-D GREY-SCALE DISPLAY

59800  59800  59800  ;29 - 2-D GREY-SCALE DISPLAY

65535  65535  65535  ;30 - 2-D GREY-SCALE DISPLAY

32767  32767  32767  ;31 - NOT USED FOR NOW

32767  65535  65535  ;32 - NOT USED FOR NOW

65535         0         0  ;33 - NOT USED FOR NOW

65535  65535  65535  ;34 - GCOR(1)

45000  45000  45000  ;35 - GCOR(2), FIT PK MARK,  FIT VAR MARK

65535  65535  65535  ;36 - GCOR(3), 1-D PK LAB, 2-D BAN & EX-MARK

65535  65535  65535  ;37 - GCOR(4), 1-D REG MARK, FIT VAR MARK

65535  65535  65535  ;38 - GCOR(5), CURSOR

65535  65535  65535  ;39 - GCOR(6)

65535  65535  65535  ;40 - GCOR(7)

U300.600  Implementation

The XPAK tape that you receive will contain all of the files  that  I  have

on  my  Vaxstation-3100,  whether  you  want them or not - it is just a lot

easier for me to do that. Since I am running 5.3  on  the  Vaxstation,  the

EXEs  may  not  work  and  you  may  have  to re-link. To do this, type the

following:

@DAMMLNK     ;To link DAMM

Final Note

Of course, you will probably need to change DISK and [DIRECTORY]  names  in

files  like  LOGIN.COM, DAMM.COM, DAMMLNK.COM, etc. The same sort of things

you did for VAXPAK implementation.

Good Luck,

W. T. Milner

18-MAY-94 .......... U300  DAMM - 2D GATE WITH CURSOR - RVR ........... PAGE  37

In order to set gates with cursor,  you should first open the 2D matrix for INput (HIS or CMAT structures are accepted). This file should contain the 2D matrix as ID #1. Then open an SPK file for gates OUtput. This file can also contain a total projection of the matrix (constructed with the usual GY MILDO command) or another  SPK file with the total projection can be opened e.g. with the QF command. Use the FIG command to set a WIN-configuration with at least 2 graphical windows (e.g. FIG 12 or FIG 14) and display the total projection or any previous gate on the fist window. Then enter in cursor mode.

New commands for gates with the cursor:

Z - (Zero) - Clear Buffer B2 and the R marks.

R - (Region) - Marks the peak limits. Op to 10 regions can be selected (the order is arbitrary, but the two channels of each region should be entered sequentially). All regions will be added to construct the gate. The pair (or single, if only one of a pair was entered) of coordinates of a region can be deleted with key D (the one that is closest to the cursor). U R removes all region marks.

B - (Background) - Marks up to 10 regions for Compton subtraction. The order is arbitrary, but members of a pair should be entered in sequence. D clears the pair of B marks closest to the cursor. U B removes all background marks.

J - (Janela/Window) - The gate is constructed automatically as a sequence of the following MILDO commands:

Z1

Z2

GY 1  RL  RH 	- Where  RL , RH  are the two values of the peak region.

A12  1. 		- The Buffer 2 is accumulated with the actual peak gate.

....                     - Repeat for all peak - regions

GY 1 B1  B2	- Where B1  B2 are the limits of the lower value of the BKG region (If any).

A12 F		- Where F = -SUM (all R - channs.)/SUM( all B channs.)

....                     - Repeat for all B regions.

After the J - command is given and these MILDO command are executed the result (Buffer 2) is displayed in the window above (IDW consecutive) the one where the graphic cursor is positioned at the moment the J command is entered. You can perform any valid cursor 1-KEY command in the window where the gate is plotted, including setting new gates. The only limitation refers to previous (older) displayed gates: If you e.g. expand or perform any command that implies re-display, the result will refer to the last gate, since that is what is in Buffer 2.

18-MAY-94 .......... U300  DAMM - 2D GATE WITH CURSOR - RVR ........... PAGE  38

T - (Totalize) - Similar to J, but Z1 and Z2 are NOT performed before constructing the gate. In this way, the present gate is accumulated to the previous one.

O - (Output) - After the command you are prompted to enter the new ID number to store the Buffer 2 on the output file. The channel limits are logged on the screen and DAMM.LOG after a successful command O.

X - Change the axis where gate is placed. Initially the gate is set in axis 2. Every time X is entered, gating axis is changed (1,2).

F - (Full) - This is not really a command related with gating, but a new command of the original cursor (D1) routine. After an expansion, the F - Key will return the display limits to the original limits of the D - command (entered with the DL - command).

DON’T forget to U R when setting new gates !!!