RPD$075066001

CHP$800.  VAXPAK - SUPPLEMENTARY NOTES

RSH$1010

TPF$

SP2$

CYB$

SECTION  CONTENTS

010  INTRODUCTION AND GENERAL COMMENTS

020  CHIL   - COMPREHENSIVE HISTOGRAMMING LANGUAGE

030  CCF    - CREATES CONTIGUOUS FILES NEEDED FOR TAPE SCANNING

040  SCAN   - CHIL-BASED TAPE SCAN PROGRAM

050  LEMO   - CHIL-BASED PRESCAN & GENERAL TAPE UTILITY

060  DAM    - DISPLAY & MANIPULATION    (MILDO & PLO COMBINED)

070  MILDO  - MANIPULATION PART OF DAM  (NO DISPLAY)

080  PLO    - DISPLAY      PART OF DAM  (NO MANIPULATION)

090  TDX    - 2-D UTILITY TO COPY, ADD, GAIN-SHIFT ETC

100  SAM    - SPECTRUM ANALYSIS MODULE (SUPERSEDES SPASM)

110  ASAP   - AUTOMATIC SPECTRUM ANALYSIS PROGRAM

120  XAM    - DISPLAYS DIRECTORY & COUNT-SUMS FOR SPK- & HIS-FILES

130  STP    - 1-D TRILOG  PLOTTING PROGRAM

140  DDT    - 2-D TRILOG  PLOTTING PROGRAM

150  DDP    - 2-D PRINTER PLOTTING PROGRAM

160  VAXCON - CONVERTS HHIRF LIST TAPES TO VAX COMPATIBLE FORM

170  STU    - XFERS SPK, HIS, BAN & ASCII FILES BETWEEN VAX & P.E.

180  ADAC   - ASSEMBLER FOR EVENT-HANDLER PROGRAMS

190  BANCO  - COPIES BAN-FILES TO/FROM EDIT COMPATIBLE FORM

200  STOPI  - STOPPING POWER PROGRAM

210  STOPX  - ENERGY LOSS AND RANGE PROGRAM

220  KINEQ  - KINEMATICS AND Q-VALUE PROGRAM

230  FUNKYFIT - LEAST-SQUARES FITTING PROGRAM

240  MILIB  - SUBROUTINE LIBRARY

250  OPENING- HIS AND DRR-FILES FOR USE WITH HISIN & HISIO

260  VAXPAK - IMPLEMENTATION

270  DAM/SAM/GRAFIX - IMPLEMENTATION ON NON-HHIRF VAX

280  TRANSFER OF ASCII FILES BETWEEN VAX AND CONCURRENT

290  IMPORTANT NOTICE TO USER

TPF$

SP2$

SEC$010  INTRODUCTION AND GENERAL COMMENTS

BLP$

This document is intended to serve as an addendum

to the documentation given in the preceding sections of this Handbook.

One must refer to the appropriate section of the HHIRF Handbook for

a general description of all programs except for CCF, DDP,

BANCO and XAM (there are no CONCURRENT versions of these programs).

CEB$

General Comments

ODP$

(1)....All programs have associated COM-file for execution and in

most cases an associated COM-file for linking (SCANLNK.COM for linking

a SCAN EXE-file, for example).

ODP$

(2)....Whenever the name of a HIS-file is required, you must specify

the device name. Examples: U1:MYFILE.HIS, U1:MYFILE, etc.

ODP$

(3)....I have used SOMETHING.PRT as the list-file

for all programs discussed here except for SCAN and LEMO for which

the list-file is SOMETHING.LOG.

See the associated COM-files for what I do and how to change it.

ODP$

(4)....Several COM-files create SOMETHING.OPT, write information to it

for the program to read and delete SOMETHING.OPT;* following program

termination. There is a small chance that this could cause a problem

if two "copies" of the same program are run from a given account.

Anyway, think about it.

ODP$

(5)....In the following instructions I have assumed that you have

a LOGIN.COM file which allows you to execute all COM-files discussed

here by typing: COMNAME rather than @COMNAME.

ODP$

(6)....If you are using the HHIRF VAX and do not have the appropriate

LOGIN.COM, you must type:

CY1$

@U1:[MILNER]COMNAME   instead of   COMNAME

ODP$

(7)....All programs which use tapes MOUNT the tapes (FOREIGN) inside

the program - you DON'T do it ahead of time. If the program is

terminated normally, any assigned tapes will be DISMOUNTED but not

necessarily unloaded.

ODP$

(8)....In order to avoid confusion with VAX sub-directory names, the

CHIL-based directory filename extension DIR has been changed to DRR

for all VAXPAK programs. If you use program STU to transfer files

between the VAX and CONCURRENT systems, everything is taken care of.

TPF$

SP2$

SEC$020  CHIL - COMPREHENSIVE HISTOGRAMMING LANGUAGE

BLP$

The rules for writing a CHIL program for the VAX are exactly as

described SEC# 320. There is a slight difference in how

CHIL is executed and how you create the required HIS-file, however.

CEB$

Compiling a CHIL Program

CY1$

al the CONCURRENT, you type:  CHIL PROG,LSTFD,OP OP ..

On the VAX,        you type:  CHIL PROG "OP OP .."

ODP$

(1)....PROG.CHL denotes the name of the CHIL source-file to be

compiled.

ODP$

(2)....For the CONCURRENT version, LISFD denotes the name of the

file or device on which compilation output is to be listed.

ODP$

(3)....For the VAX version, the compilation output is always listed

on PROG.PRT.

ODP$

(4)....OP denotes any of the compilation options (NOC, NOTR, NOS etc)

CEB$

Examples

CY1$

CHIL PROG                ;Compiles PROG.CHL with standard options

CHIL PROG "NOTR"         ;Compiles PROG.CHL with NO-TRACE option

CEB$

Creating The HIS-file

BLP$

When you run CHIL, it will tell you how many blocks are needed for the

HIS-file. Use program CCF to create this file:

SEC$030  CCF - CREATION OF HIS- AND PSF-FILES

BLP$

Program CCF (stands for Create Contiguous File) is used in creating

"best try contiguous" files for containing histograms (HIS-files)

and for creating the partial-sort file (special scratch file) used

by the tape scan program (usually called SCAN.PSF but must match the

name given in SCAN.COM).

BLP$

If you have

more than one disk, it is best to use different disks for the HIS-file

and the PSF-file. CHIL will tell you how many blocks are required for

the HIS-file. The PSF-file should be fairly large (say 4096 to 16384

blocks). If the count production rate from the scan process is low

and the HIS-file is not too large (say 1024 blocks or less), you

may use a smaller PSF-file. If disk space is not a problem, I would

suggest that you make the PSF-file about 8192 to 16384 blocks and

just keep it allocated (i.e. don't delete it).

CY1$

Type:  CCF           for operating instructions.

TPF$

SP2$

SEC$040  SCAN - CHIL-BASED TAPE SCAN PROGRAM

BLP$

The VAX version of SCAN works in much the same way as the CONCURRENT

version but I have produced a special VAX version of the

documentation (see SCAN (VAX) - SEC# 305.).

SP1$

SEC$050  LEMO - CHIL-BASED PRESCAN & GENERAL TAPE UTILITY

BLP$

The VAX version of LEMO works in much the same way as the CONCURRENT

version (see LEMO - SEC# 310. for VAX and CONCURRENT operation).

SP1$

SEC$060  DAM - DISPLAY & MANIPULATION  (MILDO & PLO COMBINED)

BLP$

The only (known) differences between the CONCURRENT and VAX versions

of DAM are:

ODP$

(1)....You must include the disk device-name when specifying HIS-files

for the VAX version (Example: U1:MYFILE.HIS).

ODP$

(2)....Any printout is directed to DAM.PRT in the VAX version.

CY1$

See SEC# 350. for details.

Type:  DAM           for operating instructions.

SP1$

SEC$070  MILDO - DATA MANIPULATION PROGRAM

BLP$

MILDO is the manipulation part of program DAM.

CY1$

See SEC# 350. for details.

Type:  MILDO         for operating instructions.

SP1$

SEC$080  PLO - 1-D & 2-D INTERACTIVE DISPLAY PROGRAM

BLP$

PLO is the display part of program DAM and works on Tektronix

4100 and 4200 series terminals.

CY1$

See SEC# 350. for details.

Type:  PLO           for operating instructions.

SEC$090  TDX - 2-D UTILITY TO COPY, ADD, GAIN-SHIFT ETC

CY1$

See SEC# 360. for a general description.

Type:  TDX           for operating instructions.

TPF$

SP2$

SEC$100  SAM - SPECTRUM ANALYSIS MODULE  (SUPERSEDES SPASM)

BLP$

SAM is an upgraded version of SPASM. There are two forms: an

interactive graphic form (SAM) and a non-graphic form (SAMB).

SAM only works on TEKTRONIX 4100 and 4200

series terminals. SAMB can be run from any terminal or submitted

as a BATCH JOB.

Some (known) differences between the CONCURRENT and VAX versions

are given below:

ODP$

(1)....You must include the disk device-name when specifying HIS-files

for the VAX version (Example: U1:MYFILE.HIS).

ODP$

(2)....Any printout is directed to SAM.PRT in the VAX version.

ODP$

(3)....For Trilog plots from SAM, Type: TF as usual (this

produces an intermediate plot file on SAM.PLT) and after you END

Type: @[BEENE]RSC SAM.PLT  or @[BEENE]SUBRSC SAM.PLT  for direct

or fast-batch

execution, respectively. See page 20 of Beene's GRAFT documentation.

CY1$

See SEC# 370. for details.

Type:  SAM           for operating instructions (    graphic version).

Type:  SAMB          for operating instructions (non-graphic version).

SP1$

SEC$110  ASAP - AUTOMATIC SPECTRUM ANALYSIS PROGRAM

CY1$

See SEC# 380. for a general description.

Type:  ASAP          for operating instructions.

Type:  TRIP ASAP     (after you end ASAP), to enter any plots

generated into the TRILOG print queue.

SEC$120  XAM - DISPLAYS DIRECTORY & COUNT-SUMS FOR SPK- & HIS-FILES

BLP$

XAM (pronounced EXAM) performs the functions provided by the three

CONCURRENT programs: DDIR, SPKSUM and HISSUM. Output is displayed

on the VDT and written to XAM.PRT.

CY1$

Type:  XAM           for operating instructions.

SP1$

SEC$130  STP - 1-D TRILOG PLOTTING PROGRAM

CY1$

See SEC# 390. for a general description.

Type:  STP           for operating instructions.

Type:  TRIP STP      (after you end STP), to enter any plots

generated into the TRILOG print queue.

TPF$

SP2$

SEC$140  DDT - 2-D TRILOG PLOTTING PROGRAM

CY1$

See SEC# 395. for a general description.

Type:  DDT           for operating instructions.

Type:  TRIP DDT      (after you end DDT), to enter any plots

generated into the TRILOG print queue.

SEC$150  DDP - 2-D PRINTER-PLOT PROGRAM

BLP$

DDP in a simple 2-D line-printer plotting program written mainly for

testing purposes. Intensities may be represented by up to 36 "numbers"

(actually the digits 0 thru 9 and letters A thru Z) or up to 13

"density levels", generated by over-printing certain characters.

CY1$

Type:  DDP           for operating instructions.

SEC$160  VAXCON - CONVERTS HHIRF LIST TAPES TO VAX COMPATIBLE FORM

BLP$

VAXCON is a CONCURRENT program which

reads HHIRF standard (L002) list data tapes, swaps bytes

where appropriate, and writes VAX compatible output tapes for

subsequent CHIL-based (or other) processing.

CY1$

Type:  VAXCON        for operating instructions.

SEC$170  STU - XFER OF SPK, HIS, BAN, & ASCII FILES BETWEEN VAX & PE

BLP$

STU is a Disk-to-Tape and Tape-to-Disk utility which may be used to

transfer certain files between the VAX and CONCURRENT

systems. See SEC# 340.010 for a general description.

CY1$

Type:  STU           for operating instructions.

SEC$180  ADAC   - ASSEMBLER FOR EVENT-HANDLER PROGRAMS.

BLP$

The VAX version of ADAC processes the same source file and produces

the same object file as the CONCURRENT version (see SEC# 250.).

There is a slight difference in how you execute the VAX version,

however.

BLP$

To assemble a source file MYPROG.EVS to produce an object file

MYPROG.EVO, Type:

CY1$

ADAC MYPROG FULL      for an expanded listing on ADAC.PRT

ADAC MYPROG           for a  short    listing on ADAC.PRT

CY1$

ADAC deletes and re-creates:  ADAC.OPT;1

ADAC.TMP;1

BLP$

You can change how things are done, of course by modifying ADAC.COM.

TPF$

SP1$

SEC$190  BANCO  - COPIES BAN-FILES TO/FROM EDIT COMPATIBLE FORM

BLP$

BAN-files (2-D gate files) were originally implemented on the

HHIRF CONCURRENT computer and designed to be created and modified

by means of an interactive graphics program (RIP). BAN-file support

routines were designed to read and write such files by means of

direct access. It turns out that files

created by the VAX editor can not be accessed directly.

BLP$

Since at some future date I or someone else may wish to produce

VAX software which supports interactive graphic creation and

modification of BAN-files, I don't want to give up this direct access

file structure. Anyway, I don't want to take the time to re-write

all of these support routines at this time.

I have written a special program BANCO to get around this problem

and do a few other things as well.

CEB$

See separate BANCO documentation for a description of this program.

SEC$200  STOPI - STOPPING POWER PROGRAM

CY1$

See SEC# 540. for a general description.

Type:  STOPI         for operating instructions.

SEC$210  STOPX - ENERGY LOSS AND RANGE PROGRAM

CY1$

See SEC# 530. for a general description.

Type:  STOPX         for operating instructions.

SEC$220  KINEQ - KINEMATICS AND Q-VALUE PROGRAM

CY1$

See SEC# 500. for a general description.

Type:  KINEQ         for operating instructions.

SEC$230  FUNKYFIT - LEAST-SQUARES FITTING PROGRAM

CY1$

See SEC# 510. for a general description.

Type:  FUNKYFIT      for operating instructions.

SEC$240  MILIB  - SUBROUTINE LIBRARY

BLP$

See SEC# 700. for a list of some of the more generally useful routines

and associated documentation.

SEC$250  OPENING- HIS AND DRR-FILES FOR USE WITH HISIN & HISIO

BLP$

The use of HISIN or HISIO requires a special file opening procedure.

See SEC# 700.060 for a discussion of routine HISMAN which takes

care of this. Link your program as follows:

CYB$

LINK/EXE=MYPROG  MYPROG,MYRUTS,GETFID,MILIB/LIB

CY1$

Where, MYPROG & MYRUTS denote your stuff.

TPF$

SP2$

SEC$260  VAXPAK IMPLEMENTATION

CEB$

WHAT YOU GET

ODP$

(1)....A copy of the HHIRF Computer Handbook

which describes the CHIL system as well as many of the programs in

VAXPAK.

ODP$

(2)....VAXPAK suplementary documentation.

ODP$

(3)....A tape containing the complete contents of the HHIRF VAX

[MILNER] account.

This account contains all SOURCE files, standard OBJ-files,

OLB-files, EXE-files, COM-files, etc. I also call this the SOURCE

account.

CEB$

WHAT TO DO

ODP$

(1)....I suggest that you create a separate account on your VAX to

contain the contents of tape supplied.

ODP$

(2)....Display the LOGIN.COM from the SOURCE account and note that all

references include the disk device-name (U1:) and the [MILNER]

account name, explicitly. You will need to change the device-name

(U1:) to the name of the disk on which the SOURCE account resides.

If you didn't call the SOURCE account [MILNER], you will have to

change this also.

ODP$

(3)....Make the same sort of changes to all COM-files as well.

ODP$

(4)....Add the SOURCE account LOGIN.COM (or portions thereof) to any

USER accounts which will be using VAXPAK. Check for any names which

may conflict with those already defined.

CYB$

(5)....Copy TTYDEF.DAT from the VAXPAK account to user's main directory

CEB$

COMMENTS

BLP$

Since the [MILNER] account is intended for both HHIRF use as well as

export, some files may not be usable at your installation. In

particular, DAM and SAM only work on TEK-4100 and 4200 series

terminals and contain references to a copyrighted routine library

which we cannot immediately supply (see SEC# 800.270).

However, rather than go to the

trouble to select only those files that you can use, I give you

everything.

BLP$

Most programs have associated COM-files for linking. If the name

of the execution COM-file is PROG.COM, look for an associated

PROGLNK.COM. If you don't find such a file, the standard LINK

should work. Only SCAN- and LEMO programs are intended to be linked

from USER accounts (i.e. can be customized by the user).

TPF$

SP2$

SEC$270  DAM/SAM/GRAFIX - IMPLEMENTATION ON NON-HHIRF VAX

BLP$

The VAX versions of DAM, SAM & PLO are designed to work on Tektronix

4100 and 4200 series graphic terminals or emulators thereof.

They will NOT work on 4010 emulators.

These programs are linked with Jim Beene's graphics library which I

cannot supply since it contains modified versions of

some routines which are copyrighted by:

CY1$

Cerritos Computer Services, Inc.

4320 Atlantic Ave. Suite 1

Long Beach, CA 90807

USA                           Ph (213)595-8607

BLP$

If you will buy Cerritos product CCSI-1102-160 (cost about $1500),

Jim will be permitted to supply his graphics library to you.

This routine library is quite extensive, well documented and contains

the required

rasterizing routines for producing Trilog plots, among other things.

SEC$280  TRANSFER OF ASCII FILES BETWEEN VAX AND CONCURRENT

BLP$

You may use program STU to copy ASCII files (80 byte records only)

to and from tape for transfer between VAX and CONCURRENT computers.

When VAX STU is used to write tapes, records are de-tabbed

according to DEC's rules for FORTRAN. See SEC# 340.010 for more

information.

CYB$

Don't use tabs in writing Event-Handler programs.

Don't use tabs in writing CHIL programs.

SEC$290  IMPORTANT NOTICE TO USER

BLP$

All statements, technical information and recommendations contained

herin are based on tests we believe to be reliable, but the accuracy

or completeness thereof is not guaranteed, and the following is made

in lieu of all warranties expressed or implied: Our only obligation

shall be to correct or replace any part of the product proven to be

defective on a schedule determined by us. We shall not be liable for

any loss or damage, direct or consequential, arising out of the use or

the inability to use the product. Before using, the User shall

determine the suitability of the product for his intended use, and

the User assumes all risk and liability whatsoever in connection

therewith.

CEN$

AFTER ALL, YOU ARE GETTING IT FREE!

W. T. Milner  (615) 574-4762

QIT$