RPD$075066

CHP$U320  scanor - Unix/Linux Version - WTM

TPF$

SP1$

CYB$

Sec Page Contents

010   2  Introduction

020   3  General Features

030   4  Commands for Setup and Initialization

040   4  Commands for Tape/File Assignment, Control, etc.

050   5  Commands for Running (actual processing)

060   5  Commands for Command File Operation

070   5  Commands for Reading and Display of Tape or File Records

075   6  Commands related to VME 100 Hertz Clock - \bu\Linux version only!\\

080   7  Using Shared Histogram Memory Segments

090   9  Discussion of User-supplied Routine DRRSUB

100   9  Histogram Specification Routines (called by DRRSUB)

110  12  Simple Example of User-supplied Routine DRRSUB

120  12  Discussion of User-supplied Routine HISSUB

130  12  Discussion of Histogram Incrementing Routines (options)

150  14  Routines to Unpack Full Buffers into Single Events

190  16  Routines for Testing Bananas

220  17  Discussion of 2-D Free-Form Gating

230  18  Discussion of 1-D Gating

240  19  How to Create and Run Customized scanor Programs

250  20  Example DRRSUB

260  21  Example HISSUB

280  22  Discussion of Tape Record Lengths

290  23  Logical Units and COMMON Blocks

300  24  Creation & Use of DVDs & CDs for Data Processing - Outline

310  25  Creation       of DVDs & CDs for Data Processing - Details

320  27  Use            of DVDs & CDs for Data Processing - Details

330  28  Processing of User Defined Files - UDFs - \bu\Linux version only!\\

340  35  Using Multiple CPUs to Process Data

CY1$

\b\How to Get Started\\

===========================================================================

\b\Type:\\

\b\scanor filnam\\             ;To start in \b\user-mode & shared-memory\\

\b\scanor filnam local\\       ;To start in \b\user-mode &  local-memory\\

\b\scanor filnam chil\\        ;To start in \b\chil-mode & shared-memory\\

\b\scanor filnam chil local\\  ;To start in \b\chil-mode &  local-memory\\

\b\scanor filnam local chil\\  ;To start in \b\chil-mode &  local-memory\\

===========================================================================

Where: \b\filnam\\ denotes the filename prefix of the output his-file.

===========================================================================

TPF$

SP1$

SEC$.010  Introduction

BLP$

The \b\scanor\\ package incorporates most of the features provided by

\b\scanu (or scanuv)\\ as well as the chil-based \b\scan\\ package.

A number of new features are also provided as shown by the comparison

table below.

DBL$

CYB$

===========================================================================

Scan-type--->                  SCAN     SCANU    SCANUV    SCANOR

Intrinsic Features

HISSUB Processed L001            no        no        no       YES

HISSUB Processed L002            no        no        no       YES

HISSUB Processed L003            no       YES       YES       YES

CHIL   Processed L001            no        no        no       YES

CHIL   Processed L002           YES        no        no       YES

CHIL   Processed L003            no        no        no       YES

Input from Tape                 YES       YES       YES       YES

Input from ldf-files             no        no        no       YES

Input from ACQ SHM               no        no       YES       YES

Banana support routines          no        no        no       YES

Read & Display of list data      no        no        no       YES

Status Display                   no        no        no       YES

Buffer modification via INPUT   YES       YES       YES        no

Single event calls to HISSUB     na       YES       YES        no

===========================================================================

SIN$

TPF$

SP1$

SEC$.020  General Features

ODP$

o......\b\scanor\\ supports input data streams from tape, ldf-files

and shared-memory (for on-line use).

ODP$

o......\b\scanor\\ supports the usual command processing including

user cammand processing.

ODP$

o......All histograms are generated in memory which is allocated

is determined by the amount of memory available and will vary with the

DECstation being used, the time of day, etc.

ODP$

o......\b\scanor, scanu, & chil\\ procedures all use the same .his and

.drr file structures.

ODP$

o......A proper .drr file may either exist or you must provide

a routine, DRRSUB, to create it at run time. See SEC# 090 thru 110.

ODP$

o......The .his file may either exist or you will be asked

for permission to create it at run time.

ODP$

o......In user-mode, the main program calls user-supplied routine,

HISSUB(IBUF,N),

with an INTEGER*2 event buffer IBUF which contains one raw buffer

from tape, ldf-file or shared-memory segment.

ODP$

o......histogramming is accomplished by user-supplied calls,

normally from routine HISSUB,

to one of the following standard routines:

CY1$

COUNT1(  ID,IX,JY)   ;For no limit-checking, ranging, compression

COUNT1C( ID,IX,JY)   ;For    limit-checking, ranging

COUNT1CC(ID,IX,JY)   ;For    limit-checking, ranging, compression

FIP$

Where, ID is a histogram ID-number

in the range 1 to 8000. IX and JY are X- and Y-channel numbers in the

range 0 to whatever. For 1-D histograms, JY is ignored but must be

supplied. See SEC# 130.

CY1$

\bu\Important Note for CHIL Users\\

BLP$

Any \b\USERSUBs\\ called via the \b\CHIL\\ program is now passed an INTEGER*4

array rather than INTEGER*2 array as in the original \b\SCAN\\

package as illustrated below.

CYB$

SUBROUTINE USERSUB1(IBUF)

C

INTEGER*4 IBUF(*)

C

...

...

C

RETURN

END

TPF$

SP1$

SEC$.030  Commands Related Setup and Initialization

BLP$

The standard \b\scanor\\ commands, which are also available in the form

of run-time \b\help\\ are listed below. All commands may be entered

in lower case.

CY1$

UCOM TEXT       Send TEXT to USERCMP

GATE ID LO HI   Interactively specify 1-D gate (ID = 1 to 1000)

GAT  file.gat   Open and read 1-D gates from file.gat (which contains a

number of GATE entries as defined above)

GATZ            Reset all previously defined gates to "impossible"

STAT GATE       Displays/logs currently defined gates

BAN  file.ban   Open and read in bananas from file.ban

BANZ            Zero (reset) in-memory banana list

SWAB            Turn byte-swap ON

SWOF            Turn byte-swap OFF (default)

RECL N          Set tape data record length to N-bytes (dflt = auto-detect)

(See SEC# 280 for discussion)

L001 NSKIP,NPPE Specify L001 input format (see Handbook SEC# 300.060)

L002            Specify L002 input format

L003            Specify L003 input format (default)

LON             Turns log-file output ON (default)

LOF             Turns log-file output OFF

WAIT NSEC       Waits NSEC seconds (allowed range NSEC = 1 to 300)

STAT            Displays current status (options chosen, open files, etc

MSG  TEXT       Display TEXT (44 bytes) on (VDT)

SEC$.040  Commands Related to Tape/File Assignment, Control, etc.

CY1$

TAPE rxxx  Assign input to tape unit   - (rxxx = rmt0, rmt1, ..etc)

FILE NAME  Assign input to file NAME   - (must be standard ldf-file)

FILE /mnt/cdrom0/NAME ;NAME of ldf-file from CD     on CD  drive (top)

FILE /mnt/cdrom1/NAME ;NAME of ldf-file from CD/DVD on DVD drive

;(see \b\SEC# 300 - SEC# 326\\ for details)

SHM  VMEx  Assign input to SHM channel - VMEx = VME1, VME2, VME3, ....

IPC  VMEx  Assign input to SHM channel - VMEx = VME1, VME2, VME3, ....

ACQ  VMEx  Assign input to SHM channel - VMEx = VME1, VME2, VME3, ....

CLOS       Close currently open input file/dev/segment whatever it is

CLUN       Close and unload input tape

REW        Rewind input tape/file

BR   N     Backspace N-records on input tape/file

FR   N     Forward   N-records on input tape/file

BF   N     Backspace N-files   on input tape/file

FF   N     Forward   N-files   on input tape/file

FIND ID    Find HEADER # ID

TPF$

SP1$

SEC$.050  Commands Related to Running (actual processing)

CY1$

ZERO       Zero his-file & reset all pointers & counters

Z I,J...   Zero individual histogram IDs I,J...

Z I to J   Zero histogram IDs I to J in steps of 1

Z I to J,k Zero histogram IDs I to J in steps of K

Z          Repeats last Z-list

ZBUC       Zero BUFFER-counter (record counter)

GO         START/CONT process (stops on EOF,EOM or ERROR)

GO   N     Process N-files (skip bad records)

GO   N,M   Process N-files or M-recs - 1st to occur

GOEN       START/CONT process - unloads tape (if any) and ends

GOEN N     START/CONT process - unloads tape (if any) and ends

GOEN N,M   Process N-files or M-recs - 1st to occur

HUP        Updates his-file but does not terminate

CTRL/C     Interrupts tape processing and waits for next typed CMD

END        END gracefully - update his-file & END

KILL       Abort program  - no update!!

SP1$

SEC$.060  Commands Related Command File Operation

CY1$

CMD  fil   Assign fil.cmd as cmd-file (not read yet)

CCMD       Continue reading instructions from fil.cmd

CLCM       Continue with last CMD from fil.cmd (backspaces)

CCON       Continue (reading instructions from CON:)

SP1$

SEC$.070  Commands for Reading and Display of Tape or File Records

CY1$

RDI  N     Read    N records from input tape, ldf-file or shared-memory

PEV  IA,IB  Print   16-bit word IA thru IB in EVENT format (integer)

DEV  IA,IB  Display 16-bit word IA thru IB in EVENT format (integer)

PEVZ IA,IB  Print   16-bit word IA thru IB in EVENT format (hex)

DEVZ IA,IB  Display 16-bit word IA thru IB in EVENT format (hex)

PZ   IA,IB  Print   16-bit word IA thru IB in HEX   format

DZ   IA,IB  Display 16-bit word IA thru IB in HEX   format

PA   IA,IB  Print   16-bit word IA thru IB in ASCII format

DA   IA,IB  Display 16-bit word IA thru IB in ASCII format

PI   IA,IB  Print   16-bit word IA thru IB in INT*2 format

DI   IA,IB  Display 16-bit word IA thru IB in INT*2 format

PIF  IA,IB  Print   32-bit word IA thru IB in INT*4 format

DIF  IA,IB  Display 32-bit word IA thru IB in INT*4 format

TPF$

SEC$.075  Commands Related to VME 100 Hertz Clock - Linux version only!

CY1$

CLID IDHI IDLO  Specifies ID numbers (Hi & Lo parts) for 100 Hertz clock

(these are the IDs specified by $CID in the PAC-file)

RDI will now show VME clock for first event of data buffer

CLID            Without IDs will remove ID specifications

CLIM MIN  MAX   Specifies Min & Max value of 100 Hertz clock for which

processing is to be executed. (see \b\Note-1\\)

CLIM            Without MIN, MAX data will remove specification

CLBF            Enables  buffer-by-buffer limit testing by scanor

Disables event-by-event   limit testing by user

CLEV            Enables  event-by-event   limit testing by user (default)

Disables buffer-by-buffer limit testing by scanor

CLLO VMET       Locates the LDF record "containing" specified VME-time

(see \b\Note-1 & Note-2)

===========================================================================

CY1$

\b\Note-1\\ Since 9 or 10 digit numbers are hard to read (at least for me)

I display the 100 Hertz clock values with commas. For example the number

\b\1234567890\\ is displayed as \b\1,234,567,890\\

You are also allowed to enter the CLIM & CLLO parameters MIN, MAX & VMET

in a similar manner using any non-numeric character as separators except

\b\DO NOT USE BLANKS or ! or ;\\.

BLP$

\b\Note-2\\ the command \b\CLLO VMET\\ command attempts to locate the

LDF record containing the 100 Hertz clock time VMET. It only checks the

first time found in each record and unless the first time happens to match

the requested time it will find the record containing a greater time and

back up one record.

CEN$

\bu\Comments Related to Processing\\

BLP$

If the commands \b\CLID IDHI IDLO, CLIM MIN MAX & CLEV\\ are given

then the user may scan a specified time interval of an LDF-file.

This is how it works.

In routine HISSUB, call UNPACKL, UNPACKAA or UNPACKBB to return an event list

in (IDLST(*), DALST(*), NPAR=# of parameters) or an expanded event in

array EXPEV(*). (see SEC#150) Then:

CYB$

CALL VMETCHEKA(IDLST,DALST,NPAR,ISTAT) or

CALL VMETCHEKB(EXPEV,ISTAT)

CY1$

ISTAT=-1  says VME time of event is below lo-limit

ISTAT= 0  says VME time of event is within specified limits

ISTAT= 1  says VME time of event is above hi-lomit

ISTAT= 2  says VME time of event is not found

ISTAT= 3  says CLID or CLIM has not been entered

To abort the scan (when hi-limit is exceeded for example):

CYB$

CALL SCANSTOP

BLP$

If the commands \b\CLID, CLIM & CLBF\\ are all given, time checking is

carried out by \b\scanor\\ itself but only on a buffer-by-buffer basis.

I.E. only the first event in the input buffer is time-checked.

TPF$

SP2$

SEC$.080  Using Shared Histogram Memory Segments

BLP$

Program \b\scanor\\ generates histograms in either a

\b\shared or local\\ memory segment as indicated below:

CYB$

scanor name        ;Starts scanor using a shared memory segment (default)

scanor name local  ;Starts scanor using a local  memory segment

BLP$

The advantage of using the \b\shared\\ segment is that \b\damm\\ can

access histograms (in memory) as they are being generated without

waiting for an \b\end\\ or a \b\hup\\.

CEB$

Problems With Orphan Shared Segments

BLP$

Once upon a time there was this problem with shared

memory segments.  It seems that when a user program

goes belly up, any shared memory segments it was using

remain allocated.  In time no one is able to use shared

memory since all available memory is allocated to these

orphan segments.  The existence of this problem was

documented and instructions for removing these shared

memory segments have been provided (see Note: on shm_fixup below).

Strangely enough,

users do not alway remove their orphan segments!

BLP$

In the current implementation, a subroutine (shared_wipe) is

called at the startup of \b\scanor\\ which deletes orpham shared memory

segments belonging to the current user.

An orphan shared memory segment is one which meets \b\ALL\\

of the following:

CY1$

(1)....The CREATOR is the current user

(2)....The OWNER is the current user

(3)....The number of processes attached to this segment is zero

(i.e. nobody is using this one).

(4)....The process which created this segment is no longer existant.

If all conditions are satisfied, the shared memory segment is removed.

BLP$

\bu\WARNING:\\ This may be machine dependent.  It depends on the format

of the output from the system command 'ipcs -mcop'. So far it has worked

on DECstations, Alphas and SUNs but we can't make any guarantees for other

platforms or future operating systems on these platforms.

TPF$

SP2$

SEC$.080  Using Shared Memory Segments (continued)

SP1$

CYB$

THE FOLLOWING PROCEDURE SHOULD NO LONGER BE REQUIRED BUT I WILL RETAIN

THE DOCUMENTATION FOR NOW. This only applies DECstations and Alphas.

BLP$

\b\WARNING!!\\ if \b\scanor\\ should terminate abnormally (core dump),

the \b\shared segment\\ will not be released as it normally would.

You will need to perform the cleanup operation shown below, otherwise

the system will eventually be eaten up with "abandoned memory segments".

CYB$

Type: /usr/hhirf/shm_fixup name

BLP$

Where, \b\name\\ is the his-file name prefix that you used in starting

\b\scanor\\.

CY1$

---------------------------------------------------------------------------

CEB$

IMPORTANT!!

BLP$

If you do not run \b\shm_fixup\\ at the time of the "abnormal termination"

and the machine becomes almost inoperable due to the memory tied up

with abandoned segments, do the following:

Find these abandoned segments by displaying all files with

the \b\.shm\\ name extension. If you find a file \b\name.shm\\ and

are not currently running scanor or scan with \b\name.his\\,

then you have found an abandoned segment and should run

\b\shm_fixup\\ as described above.

BLP$

Under certain conditions, abandoned segments may not have an associated

\b\shm-file\\. To find and remove these do the following.

CY1$

Type: \b\ipcs\\           ;To \b\display\\ shared mmemory segments & IDs

Type: \b\ipcrm -m ID\\    ;To \b\remove\\  shared memory  segment    ID

CY1$

---------------------------------------------------------------------------

TPF$

SP1$

SEC$.090  Discussion of User-supplied Routine DRRSUB

BLP$

The basic function of a DRRSUB is to define histogram

specifications and write a HHIRF form directory file (.drr file).

It is called ONCE by a \b\scanor\\ task, during the initialization

process, at the beginning of a scan, and

builds a HHIRF format histogram directory file (.drr file). The same

information is used to allocate a .his file, and to determine how much

memory to request from the OS for histogram storage.

You can make it as elaborate as you like, with

user prompting, etc.(for example you could test for the

existence of a directory file, and if it exists ask the user if he

wants to recreate it or not). The call sequence of a DRRSUB is:

CYB$

SUBROUTINE DRRSUB(IEXIST)

INTEGER IEXIST

C

C     At entry  IEXIST will be 1 if a .drr file of the proper name already

C     exists and 0 otherwise. The basic structure of a DRRSUB is:

C

...

C                      !tests and/or user interaction

C

CALL DRRMAKE     !make new or overwrite existing DRR

C                      !calls to HDEF, HD1D or HD2D (up to 2008,

C                      !one for each histogram being defined.

C                      !See call sequence below)

CALL ENDRR

...

RETURN

END

BLP$

\b\A DRRSUB is not required.\\ A dummy DRRSUB is included in

scanmlib and will be linked if you don't include one in your link

list. It is a no-op which writes a message to the screen to the

effect that it hasn't done anything. Using the dummy DRRSUB

means that you are depending on the .drr file to already exist,

whose name matches that specified on your start command line

(e.g. "\b\scanor\\ name"). A directory file produced by CHIL works

just as well as one generated by fortran calls (they're

functionally identical).

BLP$

DRRMAKE should not be called if you want to reuse an existing

DRR, since it destroys the information in the old .drr. The calls

to DRRMAKE and ENDRR are both required to generate a valid

new .drr file and to finalize the generation of histogram specs.

There is no harm in regenerating a .drr every time you run \b\scanor\\,

even though it's always the same. This does not result in a loss

of information in the .his file. (Renewing a .drr file doesn't

zero a .his file.)

SEC$.100  Histogram Specification Routines (called by DRRSUB)

BLP$

There are three basic histogram definition routines, a general

one HDEF which allows up to 4 dimensional histograms, and HD1D and HD2D

which are specific to 1 and 2 dimensional histograms respectively. A

DRRSUB should consist of a series of calls to HDxx family routines (one

call per histogram) followed by a call to ENDRR (no arguments) which

tells the system you're finished. A histogram directory is then listed

for you on stderror and on your log file.

TPF$

SP1$

SEC$.100  Histogram Specification Routines (continued)

BLP$

Note that there are some philosophical differences between a

histogram specification in DRRSUB and a histogram definition in CHIL:

some examples of these differences will be mentioned here to

illustrate basic concepts. In CHIL, gates, conditions, etc. are directly

associated with a histogram. A call to a HDxx family routine only reserves

space and assigns an ID number, minimum and maximum parameter values

and a compression factor to the histogram. How you increment the

histogram depends of the logic of the fortran in your HISSUB.

In CHIL, histograms are associated with parameter numbers, and multiple

H() and OH() specs are required to generate an overlay of many

parameters in to one HID. In a DRRSUB a single HDxx call is all that

is necessary. The HISSUB does the overlaying.

CYB$

Call Sequence for HDEF -  General Histogram Specification Routine

BLP$

HDEF is really too general for most purposes and requires dimensioned

arrays, etc. So, read about HDEF but use routines HD1D and HD2D

described on following pages.

CY1$

===========================================================================

SUBROUTINE HDEF(

&      HID,     ![INT] HIST. ID

&      HDIM,    ![INT] HIST. DIMENSIONALITY (1-4)

&      NHWPC,   ![INT] NO. OF HALF WORDS PER CHANNEL (1 or 2)

&      RAWL_LST,![INT ARR] LIST OF HDIM RAW PARAM LENGTHS

&      HSTL_LST,![INT ARR] LIST OF HDIM HISTOG. PARAM LENG.

&      MIN_LST, ![INT ARR] LIST OF HDIM "RANGE" MINIMA

&      MAX_LST, ![INT ARR] LIST OF HDIM "RANGE" MAXIMA

&      LABX,    ![CHAR*N] (N.LE.12) X-LABEL

&      LABY,    ![CHAR*N] (N.LE.12) Y-LABEL

&      TIT)     ![CHAR*N] (N.LE.40) TITLE FOR HISTOGRAM

c     ---------------------------------------------------------------------

IMPLICIT INTEGER*4 (A-Z)

INTEGER*4 RAWL_LST(HDIM),HSTL_LST(HDIM),MIN_LST(HDIM),MAX_LST(HDIM)

CHARACTER*(*) LABX,LABY,TIT

c     ---------------------------------------------------------------------

c        o   Reserves 1 histogram per call.

c        o   A call to DRRMAKE is required before first HDxx call.

c        o   A call to ENDRR is required after last HDxx call.

c        o   The four dummy arguments with suffix "_LST" (i.e. list)

c            in the HDEF call are (and the corresponding real arguments

c            must also be) arrays of dimension HDIM. The corresponding

c            dummy arguments (similar names, no "_LST" suffix) in

c            HD1D and HD2D are scalars. I leave off the "_LST" in the

c            following discussion.

c        o   RAWL and HSTL are both automatically adjusted to the

c            nearest power  of 2. working in powers of 2 is

c            traditional at HHIRF.

c        o   A value of MIN different from 0 and/or a value of MAX

c            different from HSTL has the same effect as a range

c            specification in CHIL....e.g. the corresponding CHIL is

c            $LPR 15 = RAWL

c            ..

c            $HID HID

c            H(15) L(HSTL) R(MIN,MAX).

TPF$

SP1$

SEC$.100  Histogram Specification Routines (continued)

CY1$

c        o   A compression (given by RAWL/HSTL) is associated with

c            each parameter of each HID. This compression is applied for

c            you if you increment with COUNT1CC. COUNT1 and

c            COUNT1C ignore it. A compression is always a power of 2.

c        o   Some of the arguments are "optional" in the sense that

c            that if the value is 0 in the call (not missing)

c            a sensible default will be taken:

c                RAWL  IF 0 SET TO 2048.

c                HSTL  IF 0 SET TO RAWL

c                MIN   IF 0 LEFT AS 0

c                MAX   IF 0 SET TO HSTL-1

c        o   Two special entries HD1D and HD2D are provided for

c            1d and 2d histograms. They are all you will ever need.

Forget HDEF.

CYB$

Call Sequence for HD1D -  1D Histogram Specification Routine

CY1$

C     =====================================================================

C     ENTRY HD1D -  ENTRY FOR 1D HISTOGRAM

C     =====================================================================

ENTRY HD1D(

&     HID,     ! [INT] HIST. ID

&     NHWPC,   ! [INT] NO. OF HALF WORDS PER CHANNEL (1 or 2)

&     RAWL,    ! [INT] RAW PARAMETER LENGTH

&     HSTL,    ! [INT] HISTOGRAMED PARAM LENGTH

&     MN,      ! [INT] MINIMUM PARAM "RANGE" VALUE

&     MX,      ! [INT] MAXIMUM PARAM "RANGE" VALUE

&     TIT)     ! [CHAR*N] (N<40) TITLE FOR HISTOGRAM

C    ======================================================================

C    Same as HDEF but only for 1D. Note all numeric arguments are scalars

C    whereas in HDEF many are arrays.

C    See HDEF for values assumed when arguments are 0.

CYB$

Call Sequence for HD2D -  2D Histogram Specification Routine

CY1$

C     =====================================================================

C     ENTRY HD2D - ENTRY FOR 2D HISTOGRAM

C     =====================================================================

ENTRY HD2D(

&      HID,    ! [INT] HIST. ID

&      NHWPC,  ! [INT] NO. OF HALF WORDS PER CHANNEL (1 or 2)

&      RAWLX,  ! [INT] RAW X PARAM LENGTH

&      HSTLX,  ! [INT] HISTOGRAMED X PARAM LENGTH

&      MNX,    ! [INT] MINIMUM X PARAM "RANGE" VALUE

&      MXX,    ! [INT] MAXIMUM X PARAM "RANGE" VALUE

&      RAWLY,  ! [INT] RAW Y PARAM LENGTH

&      HSTLY,  ! [INT] HISTOGRAMED Y PARAM LENGTH

&      MNY,    ! [INT] MINIMUM Y PARAM "RANGE" VALUE

&      MXY,    ! [INT] MAXIMUM Y PARAM "RANGE" VALUE

&      TIT)    ! [CHAR*N] (N<40) TITLE FOR HISTOGRAM

C     =====================================================================

C     Same as HDEF but only for 2D. Note all numeric arguments are scalars

C     whereas in HDEF many are arrays.

C     See HDEF for values assumed when arguments are 0.

TPF$

SP1$

SEC$.110  Example User-supplied DRRSUB routine

BLP$

A very simple DRRSUB, which books 7 1D histograms and one 2D

histogram. The ranging feature is illustrated by the 2D histogram. The

H1D calls depend on the defaulting of MAX to HSTL-1 (i.e. 511).

CY1$

===========================================================================

SUBROUTINE DRRSUB(IXST)

C

C     Very simple example of a DRRSUB.

C

IMPLICIT INTEGER*4 (A-Z)

C

CALL DRRMAKE

C

DO I=1,7

CALL HD1D(I,2,2048,512,0,0,'RAW PARAM. HIST.')

ENDDO

C

CALL HD2D(100,1,2048,2048,0,1000,2048,2048,27,2047,'2D HIST.')

C

CALL ENDRR

END

===========================================================================

Hisogram spec list produced by running \b\scanor\\ with the DRRSUB above.

8 HISTOGRAMS,      2030189 HALF-WORDS

ID-LIST:

1       2       3       4       5       6       7     100

HID  DIM HWPC  LEN(CH)   COMPR  MIN   MAX   OFFSET    TITLE

1    1   2      512       4     0   511        0  RAW PARAM. HIST.

2    1   2      512       4     0   511     1024  RAW PARAM. HIST.

3    1   2      512       4     0   511     2048  RAW PARAM. HIST.

4    1   2      512       4     0   511     3072  RAW PARAM. HIST.

5    1   2      512       4     0   511     4096  RAW PARAM. HIST.

6    1   2      512       4     0   511     5120  RAW PARAM. HIST.

7    1   2      512       4     0   511     6144  RAW PARAM. HIST.

100    2   1  2023021       1     0  1000     7168  2D HIST.

===========================================================================

SEC$.120  Dicussion of User-supplied Routine HISSUB

BLP$

The main program calls user-supplied routine, HISSUB(IBUF,N),

with an INTEGER*2 event buffer IBUF which may contains a raw buffer

from tape, ldf-file or shared-memory segment.

BLP$

You can and will, of course, do many complicated things in HISSUB but see

SEC# 260 for a simple example.

TPF$

SP1$

SEC$.130  Discussion of Histogram Incrementing Routines

BLP$

There are three histogram incrementing routines which differ

only in the amount of checking and manipulating they do for you. The

routines are COUNT1, COUNT1C and COUNT1CC. All perform the same "add

one to histogram HID" function but COUNT1, which is the fastest routine

does the incrementing without any checking or modification of parameter

values. COUNT1C (add 1 and check) does no compression does do "ranging"

and limit checking. COUNT1CC (add 1 check and compress) increments with

compression (divide input by power of 2) as well as ranging and limit

checking. The compression factor used by COUNT1CC and the range

limits used by COUNT1CC and COUNT1C are associated with a HID at

the time the histogram is defined with the HDxx family call in

DRRSUB. Call sequences are given below.

CY1$

===========================================================================

\b\SUBROUTINE COUNT1(ID,IX,IY)\\

\b\INTEGER*4 ID,IX,IY\\

---------------------------------------------------------------------

Increments histogram with HID ID at IX and IY. No limit

checking or "ranging" is done. No compression is applied.

You're on your own. This call is provided to let you do things

the fastest way you know how. IY is ignored for a 1D histogram.

NOTE!!! IX and IY are NOT HALF WORDS!!!

---------------------------------------------------------------------

\b\SUBROUTINE COUNT1C(ID,IX,IY)\\

\b\INTEGER*4 ID,IX,IY\\

---------------------------------------------------------------------

Increments histogram with HID ID at IX and IY. Limit

checking is done, and CHIL type "ranging" is done, but

no compression is applied. This lets you do your own

compressing or save a few instructions if you know it's

not needed.

NOTE!!! IX and IY are NOT HALF WORDS!!!

---------------------------------------------------------------------

\b\SUBROUTINE COUNT1CC(ID,IX,IY)\\

\b\INTEGER*4 ID,IX,IY\\

---------------------------------------------------------------------

Increments histogram with HID ID at IX and IY. Limit

checking is done, and CHIL type "ranging" is done, and

the compression implied by the RAWL/HSTL ratio in your

HDxx call is applied.

NOTE!!! IX and IY are NOT HALF WORDS!!!

===========================================================================

BLP$

Note that no calls are provided to increment histograms with

dimensionality .GT. 2, so HDEF isn't all that useful

(that's what I meant by too general). You can actually

increment a 3 or 4D histogram with COUNT1 if you think

about it a bit.

TPF$

SP1$

SEC$.150  Routines to Unpack Full Buffers into Single Events

SP1$

CY1$

\bu\UNPACKL - Unpacks L001, L002 & L003 Buffers to Single Events\\

BLP$

The data format is interpreted as (L001, L002 or L003) depending

on that specified by the user at run time. The default format is

\b\L003\\ since that is the one we are currently using in data

acquisition.

CY1$

SUBROUTINE UNPACKL(

&           IBUF,   !I*2 - raw data buffer

&           NHW,    !I*4 - # of I*2 words in IBUF

&           MXID,   !I*4 - max-ID (dimension of IDLST, DALST & EXPEV)

&           IDLST,  !I*4 - ID-list   for returned event

&           DALST,  !I*4 - Data-list for returned event

&           EXPEV,  !I*4 - expanded-event array

&           NPAR,   !I*4 - # of parameters in this event

&           DONE,   !C*4 - YES/NO - requests new IBUF

&           IERR)   !I*4 - 0 means OK, nonzero means error

BLP$

\bu\Important Note: \\In interest of speed,

\b\UNPACKL\\ resets (to -1) only those elements of \b\EXPEV\\ which

were set by the previous call (all elements are initially set to -1).

If the user sets other elements

in this array, it is her/his/its responsibility to reset these elements

prior to subsequent calls to \b\UNPACKL\\.

BLP$

\bu\Important Note: \\In the interest of speed,

\b\UNPACKL uses IDLST\\ to reset elements

in \b\EXPEV\\ which were set in the previous unpack operation.

Therefore, the user should \b\NOT\\ modify \b\IDLST\\.

BLP$

\bu\Important note:\\ Routine \b\UNPACKBB\\ resets elements in the

expanded array \b\EVBUF\\ to 0 (not -1).

TPF$

SP1$

SEC$.150  Routines to Unpack Full Buffers into Single Events (continued)

CY1$

\bu\UNPACKAA - Unpacks L003 Buffers to Single Events\\

BLP$

The L003 format used in the ORPHAS data acquisition system consists of pairs

of 16-bit words.  The first word is the parameter ID and the second word is

the parameter data.  The end-of-event is marked by a pair for which both

the ID and the data are 'FFFF'X.  An event data buffer always has an

integral number of events.

BLP$

UNPACKAA unpacks single events from a buffer.  Each call returns a single

event in the EVBUF array.  When all events in the buffer have been processed,

the alternate FORTRAN return is taken.

BLP$

UNPACKAA returns data in a two dimensional array.  The first element is the

parameter ID and second is the parameter data.

CY1$

CALL UNPACKAA(IBUF,NHW,EVBUF,NPARAM,EVSIZE,IERR,IEND)

\b\call:\\   INTEGER*2  IBUF       - raw event data buffer

INTEGER*4  NHW        - number of INT*2 words in IBUF

INTEGER*4  EVSIZE     - Second dimension of array EVDAT

\b\return:\\ INTEGER*4  EVBUF(2,*) - Event data. EVBUF(1,*) is the parameter ID

INTEGER*4  NPARAM     - Number of parameters in this event.

INTEGER*4  IERR       - 0 says OK.  Nonzero says too many parameters.

INTEGER*4  IEND       - 0 says more data - nonzero says end-of-buffer

- Also nonzero if L003 format error occurs

\b\NOTE: IEND has been implemented because gnu fortran doesn't support the

alternate RETURN used in previous versions\\

CY1$

\bu\UNPACKBB - Unpacks L003 Buffers to Single Events\\

BLP$

UNPACKBB performs the same function as UNPACKAA.  The parameter ID is

used as an index to the EVBUF array to get the parameter data.  The EVBUF

is zero for parameters which were not present in the event.

CY1$

CALL UNPACKBB(IBUF,NHW,IDBUF,EVBUF,MAXID,NPARAM,IERR,IEND)

\b\call:\\   INTEGER*2  IBUF      - raw event data buffer

INTEGER*4  NHW       - number of INT*2 words in IBUF

INTEGER*4  MAXID     - Max ID. IDBUF and EVBUF must be dimensioned

at least as great as MAXID

\b\return:\\ INTEGER*4  IDBUF()   - List of IDs in this event

INTEGER*4  EVBUF(id) - Event data for parameter id

INTEGER*4  NPARAM    - Number of parameters in this event.

INTEGER*4  IERR      - 0 says OK. Nonzero says too many parameters.

INTEGER*4  IEND       - 0 says more data - nonzero says end-of-buffer

- Also nonzero if L003 format error occurs

\b\NOTE: IEND has been implemented because gnu fortran doesn't support the

alternate RETURN used in previous versions\\

TPF$

SP1$

SEC$.190  Routines for Testing Bananas

CY1$

\bu\BANTESTI - Banana Tester by Banana ID\\

BLP$

After the appropriate ban-files have been read in,

logocal function \b\BANTESTI\\ may be used by routine \b\USERMOC\\ to test

X and Y parameters against individual bananas.

CYB$

LOGICAL FUNCTION BANTESTI(IG,IX,IY)

C

INTEGER*4 IG,IX,IY

BLP$

\b\BANTESTI\\ references

bananas via ID-numbers IG. If the the IX,IY point is contained within the

specified banana, the value of the function is .TRUE., otherwise it .FALSE.

In NG or IG do not exist, .FALSE. is returned. There are no error messages.

SP1$

CY1$

\bu\BANTESTN - Banana Tester by Banana Ordinal\\

BLP$

After the appropriate ban-files have been read in,

logical function \b\BANTESTN\\ may be used by routine \b\USERMOC\\ to test

X and Y parameters against individual bananas.

CYB$

LOGICAL FUNCTION BANTESTN(NG,IX,IY)

C

INTEGER*4 NG,IX,IY

BLP$

\b\BANTESTN\\ references bananas via sequence numbers NG.

If the the IX,IY point is contained within the

specified banana, the value of the function is .TRUE., otherwise it .FALSE.

In NG or IG do not exist, .FALSE. is returned. There are no error messages.

TPF$

SP1$

SEC$.220  Discussion of 2-D Free-Form Gating

BLP$

2-D free-form gate testing must be carried out by user-supplied

code executed by routine HISSUB. This is also true for 1-D gate

testing. However, there are some intrinsic aids for 2-D gate testing

and ban-file processing. This is how it goes:

CYB$

Reading in ban-files-------------------------------------------------------

BLP$

One or more ban-files are opened and read in via the commands:

CYB$

ban file1.ban

ban file2.ban

ban file3.ban

.

.

BLP$

All entries (bananas) in each file are read in and stored in memory

in the order in which they occur in the file. Subsequent references to

individual bananas (stored in memory) may be via the stacking ordinal

(sequence number as read in) or via the ban-ID from the ban-file.

If more than one file is read in, one must make sure that all IDs are

unique or one must reference bananas by sequence number rather than

ID-number.

Non-unique IDs will generate a warning at read-in time but it is not

a fatal error.

Also, the ID numbers of bananas to be referenced by ID number must be

limited to the range of 1 to 8000. Any out-of-range IDs will generate

a warning at read-in time but, again, the error is not fatal.

CYB$

Zeroing the in-memory bananas ---------------------------------------------

BLP$

You may use the command \b\banz\\ to clear all in-memory bananas.

Subsequently, a new set may be read in as described above.

CYB$

Functions which test 2-D Gates --------------------------------------------

BLP$

After the appropriate ban-files have been read in, one or both of the

following logical functions may be used by routine HISSUB to test X and Y

parameters against individual bananas.

CY1$

-----------------------------------------

LOGICAL FUNCTION BANTESTN(NG,IX,IY)

C

INTEGER*4 NG,IX,IY

-----------------------------------------

LOGICAL FUNCTION BANTESTI(IG,IX,IY)

C

INTEGER*4 IG,IX,IY

-----------------------------------------

BLP$

BANTESTN references bananas via sequence numbers NG and BANTESTI references

bananas via ID-numbers IG. If the the IX,IY point is contained within the

specified banana, the value of the function is .TRUE., otherwise it .FALSE.

In NG or IG do not exist, .FALSE. is returned. There are no error messages.

CEN$

(continued on next page)

TPF$

SP1$

SEC$.220  Discussion of Free-Form Gating (continued)

BLP$

The following list summarizes the features and limitations of this type

of free-form gating support.

ODP$

(1)....Multiple ban-files may be read in. All bananas in each file are

stored in memory.

ODP$

(2)....A ban-ID directory is built as files are read in. If more than one

banana has the same ID, only the last one read will be entered in the

directory. A warning will be displayed at read-in time but the error is not

fatal (you can always reference via sequence # via routine BANTESTN).

ODP$

(3)....Up to 3000 bananas may be stored by the standard support routines.

ODP$

(4)....Banana

ID numbers must be in he range of 1 through 8000 in order to be entered

into the ID-directory. If any IDs are out of range, a warning will be

given at read-in time but the error is not fatal (you can always reference

via sequence# via routine BANTESTN).

ODP$

(5)....Up to 1024000 banana channels (2000 512-channel bananas) may be

stored in memory by the support routines contained in \b\scanorlibc\\.

SP1$

SEC$.230  Discussion of 1-D gateing

BLP$

Simple 1-D gating is supported in user-mode as follows:

ODP$

o......One or more 1-D gates are specified via the syntax:

CYB$

GATE ID LO HI

FIP$

Where, \b\ID\\ is the gate ID# and \b\LO & HI\\ are the gate

limits. The allowed range for \b\ID\\ is 1 to 1000. All

quantities are \b\INTEGER*4\\.

ODP$

o......\b\LOGICAL FUNCTION GATTESTI(ID,IP)\\ is used to test

the parameter \b\IP\\ against gate \b\ID\\. (Note: gates are inclusive)

CYB$

GATTESTI is .TRUE.  if gate is satisfied

GATTESTI is .FALSE. otherwise

ODP$

o......Gates may be redefined - no warning is given.

ODP$

o......There is no check on gate limits.

ODP$

o......Gates must be on the same basis (scale) as the parameter being

tested.

ODP$

o......Gates may be specified interactively, or read from a file (see

SEC# 030 for relavant commands).

TPF$

SP1$

SEC$.240  How to Create and Run Customized scanor Programs

BLP$

The make-files listed below

can be used as templates for creating your own customized make files.

CY1$

===========================================================================

For both on-line & off-line use the template listed below which is found at

\b\/usr/hhirf/scanor.make\\

===========================================================================

FFLAGS = -fpe2

#

LDF = -laio -lpthreads

#

OBJS= /usr/hhirf/scanor.o\

\b\scanusubs.o\\

#

LIBS= /usr/hhirf/scanorlib.a\

/usr/hhirf/orphlib.a\

/usr/hhirf/wks/acqlib.a\

/usr/hhirf/wks/ipclib.a

#

scanor: $(OBJS) $(LIBS)

#

f77 $(FFLAGS) $(OBJS) $(LIBS) $(LDF) -o scanor

BLP$

\b\Bold face\\ entries in the make file examples above indicate places where

you will probably need to make changes. In this example, all customizing

routines are contained in \b\scanusubs.o\\. Of course,

your routines may be located in more than one directory.

Assuming the name of the make-file is \b\scanor.make\\

and the name of the executable is to be \b\scanor\\;

CY1$

Make it by typing:  \b\make -f scanor.make scanor\\

Run  it by typing:  \b\scanor filename\\

BLP$

Where, \b\filename\\ denotes the filename prefix of the his- & drr-files

to be used or created.

CY1$

===========================================================================

For off-line use only, use template listed below which is found at

\b\/usr/hhirf/scanof.make\\

===========================================================================

FFLAGS = -fpe2

#

LDF = -laio -lpthreads

#

OBJS= /usr/hhirf/scanof.o\

\b\scanusubs.o\\

#

LIBS= /usr/hhirf/scanorlib.a\

/usr/hhirf/orphlib.a

#

scanof: $(OBJS) $(LIBS)

#

f77 $(FFLAGS) $(OBJS) $(LIBS) $(LDF) -o scanof

TPF$

SP1$

SEC$.250  Example DRRSUB

CY1$

C$PROG DRRSUB

C

SUBROUTINE DRRSUB(IEXST)

C

C     =====================================================================

C     Example DRRSUB which reserves space for:

C     30 256-channel 1-D histograms at 32-bits/channel and

C     4  256*256-channel (range 0,199 0,199) 2-D histograms at 32-bits/chan

C     =====================================================================

C

IMPLICIT INTEGER*4 (A-Z)

C

CALL DRRMAKE

C

DO 10 HID=1,30

C

CALL HD1D(

&          HID,    !HIST ID

&          2,      !# HWDS/CHANNEL

&          2048,   !RAW  PARAM LENGTH

&          256,    !HIST PARAM LENGTH

&          0,      !MIN  PARAM "RANGE" VALUE

&          255,    !MAX  PARAM "RANGE" VALUE

&      '1D HIS')   !TITLE

C

10 CONTINUE

C

DO 20 HID=31,34

CALL HD2D(

&          HID,    !HIST ID

&          2,      !# HWDS/CHANNEL

&          2048,   !RAW  PARAM X-LENGTH

&          256,    !HIST PARAM X-LENGTH

&          0,      !MIN  X-PAR "RANGE" VALUE

&          199,    !MAX  X-PAR "RANGE" VALUE

&          2048,   !RAWW PARAM Y-LENGTH

&          256,    !HIST PARAM Y-LENGTH

&          0,      !MIN  Y-PAR "RANGE" VALUE

&          199,    !MAX  Y-PAR "RANGE" VALUE

&     '2D HIST')   !TITLE (40 BYTES MAX)

C

20 CONTINUE

C

CALL ENDRR

RETURN

END

TPF$

SP1$

SEC$.260  Example HISSUB

CY1$

C$PROG HISSUB

C

SUBROUTINE HISSUB(IBUF,NB)

C

C     =====================================================================

C     Example HISSUB

C     Calls UNPACKL to unpack full buffer IBUF into single events

C     Histograms all raw parameters at resolution specified by DRRSUB

C     with his-ID = parameter number.

C     Generates ungated   2-D histogram  of 15,17 (HID=31)

C     Generates ban-gated 2-D histograms of 15,17 (HID=32,33,34)

C     =====================================================================

C

IMPLICIT NONE

C

LOGICAL     BANTESTN

INTEGER*2   IBUF(*)

INTEGER*4   NHW,NPAR,IERR,MXID,I,IX,IY

INTEGER*4   IDLST(2000),DALST(2000),EXPEV(2000)

CHARACTER*4 DONE

DATA        MXID/2000/

C

DONE='NO  '

C

100 IERR=0

C

CALL UNPACKL(

&           IBUF,   !I*2 - raw data buffer

&           NHW,    !I*4 - # of I*2 words in IBUF

&           MXID,   !I*4 - max-ID (dimension of IDBUF & EVBUF)

&           IDLST,  !I*4 - ID-list   for returned event

&           DALST,  !I*4 - Data-list for returned event

&           EXPEV,  !I*4 - Expanded event data array

&           NPAR,   !I*4 - # of parameters in this event

&           DONE,   !C*4 - YES/NO - requests new IBUF

&           IERR)   !I*4 - 0 means OK, nonzero means error

C

IF(DONE.EQ.'YES ') RETURN

IF(IERR.NE.0)      GO TO 100

IF(NPAR.LE.0)      GO TO 100

C

DO 120 I=1,NPAR

CALL COUNT1CC(IDLST(I),DALST(I),0)

120 CONTINUE

C

IX=EXPEV(15)

IY=EXPEV(17)

C

CALL COUNT1CC(31,IX,IY)

C

IF(BANTESTN(1,IX,IY)) CALL COUNT1CC(32,IX,IY)

IF(BANTESTN(2,IX,IY)) CALL COUNT1CC(33,IX,IY)

IF(BANTESTN(3,IX,IY)) CALL COUNT1CC(34,IX,IY)

C

GO TO 100

END

TPF$

SP2$

SEC$.280  Discussion of Tape Record Lengths

BLP$

If \b\RECL\\ is unspecified or entered as zero (or blank), \b\scanor\\ will

automatically determine the data record length as follows:

BLP$

The data record length will be checked at the beginning of the tape

as well as at the beginning of each new file. It will also be checked

following any tape control command.

The first record found which meets the following requirements will be

taken to be a data record.

CY1$

o......Record must not be a header    record (256   bytes)

o......Record must not be a dead time record (128   bytes)

o......Record must not be a PAC-file  record (1600  bytes)

o......Record must not be a scaler    record (32000 bytes & labeled)

o......Record must be greated than or equal to 2048 bytes

o......Record must be no longer than 32768 bytes

BLP$

If \b\RECL\\ is enter as non-zero, any even value in the range of 4 to 32768

will be accepted, however, the use of data record lengths which are 128, 256

or 1600 bytes will lead to problems.

SP1$

BON$

BLP$

In any case, scanor displays & logs the data record length that it is using

and whether it was specified or auto-detected.

BOF$

TPF$

SP2$

SEC$.290  Logical Units and COMMON Blocks

CYB$

\b\scanor\\ may use some or all of the following logical unit assignments:

===========================================================================

LU#     USE

4     BAN-file input

5     VDT input

6     VDT output

7     Log file output

8     Help file - scanor.hep

9     drr-file

14     CMD file

15     Gate file input

21     Shared memory

31     ldf-file

===========================================================================

\b\scanor\\ may use the following labeled COMMON blocks:

===========================================================================

COMMON/SC00/ thru COMMON/SC99/

COMMON/LLL/

COMMON/ML01/

COMMON/ML02/

COMMON/ORPHAS/

COMMON/FFGA/

COMMON/FFGB/

COMMON/FFGC/

COMMON/FFGD/

COMMON/FFGE/

===========================================================================

BLP$

The user should not attempt to use any of these logical units or COMMON

block labels.

CHP$U325  Creation and Use of DVDs & CDs

TPF$

SP1$

SEC$.300  Creation & Use of DVDs & CDs for Data Processing - Outline

CY1$

\bu\To Create a DVD or CD\\

Insert a DVD or CD into the DVD drive (bottom - labeled)

Follow steps 1 through 5 (see \b\SEC# 310\\)

\bu\To use the DVD or CD in program scanor\\

Insert the DVD or CD in the DVD drive (bottom - labeled)

or

Insert the CD in the CD drive         (top  - unlabeled)

and Type:

\b\mount /dev/cdrom0\\              ;If using CD  drive (unlabeled - top)

\b\mount /dev/cdrom1\\              ;If using DVD drive (labeled - bottom)

\bu\To open a file in  program scanor, Type:\\

\b\file /mnt/cdrom0/filename.ldf\\  ;if using CD  drive (top)

\b\file /mnt/cdrom1/filename.ldf\\  ;if using DVD drive (bottom)

===========================================================================

\b\Note:\\ You cannot "punch out" a disk without dismounting it.

\b\Note:\\ A mounted DVD or CD is readable by all.

===========================================================================

\b\WARNING - FOUR WAYS YOU CAN SCREW THINGS OP WITHOUT REALLY TRYING!!\\

BLP$

(1) Execute a creation process using the \b\Gnome\\ window manager

without disabling the \b\magicdev\\ tool. It will hang the system at the

end of writing the DVD and you will need to get a \b\root person\\ to fix it.

BLP$

(2) Kill the creation process before it is finished and you will need a

\b\root person\\ to un-hang the DVD writing system.

BLP$

(3) Log off without dismounting the DVD or CD and nobody else but you or a

\b\root person\\ can dismount it.

BLP$

(4) Tell the system that you are going to create a DVD but insert CD media

into the drive. It may run out of space and hang the system.

CY1$

===========================================================================

CEB$

See also:   http://www.phy.ornl.gov/local/computer   and it's links

CEB$

It has PICTURES!

TPF$

SP1$

SEC$.310  Creation of DVDs & CDs for Data Processing - Details

BLP$

We presume that you have written your data to an \b\LDF\\ format event file

on disk, and now you need to preserve it in a permanent form. We use

DVD for long-term storage of event data.

CY1$

\bu\A recording process consists of the following steps in order:\\

\bu\(1) Start the application\\

BLP$

The application is started by calling: \b\/opt/bin/DvdIoHandler\\ which

brings up the graphical user interface to the DVD recording software.

CY1$

\bu\(2) Create a container file system to temporally hold files to be stored\\

BLP$

A screen will present itself.  You can select to create a CD or a DVD,

either will be written with the UDF file format. The choice here

determines the size of the container file system created and thus how

much data you can write to the CD or DVD. Once you made you selection,

press the \b\Create\\ button to create the container file system. The

programm cannot be terminated during the time the container file

system is created, hence the \b\Exit\\ button will become unavailable.

BLP$

While the container file system is created, you can monitor the

process in the progress bar in the bottom of the window. Once the

container file system is created, a new window will appear that allows

you to select files.

CY1$

\bu\(3) Add files - create a list of files to be copied to container file\\

BLP$

You may select files that you want to record on DVD or CD. In this

step the files are not actually copied, they are just collected. You

may add files or directories using the \b\Add\\ button in the screen

presented.  The files and directories will be displayed in tree

form.  The available space will be listed in the progress bar at the

bottom of the screen. You may also delete previously selected files.

BLP$

In order to add new files or directories press the \b\Add\\ button, which

will present you with a screen to select.  Select the radio button

labeled \b\Directory\\ if you want to add an entire directory. Press \b\OK\\

when you have made your selection from this window.

CY1$

\bu\(4) Copy files to the container file\\

BLP$

Once you selected all the files you want to record on the DVD or the

CD, you may press either the \b\Copy, Copy&Record\\ or the

\b\Copy&Record&Exit\\

button. This will start the copying process.  Depending on where your

orignal files reside and how much data you are copying, this may take

a while. The progress bar at the bottom of the screen let's you know

how many data have been copied.

CY1$

\bu\(5) Record files to DVD or CD - copy from container file to DVD or CD\\

BLP$

Once all files are copied, the recording process can be started by

pressing the \b\Record\\ button. However, after the \b\Record\\ button is

pressed, the

\b\Exit\\ button will become unavailable since terminating the program at

the recording stage will make the recorded DVD useless. \b\Please to not

kill the program during the recording stage!\\

TPF$

SP1$

SEC$.310  Creation of DVDs & CDs for Data Processing - Details (continued)

BLP$

If a recording error occurs, you are informed by a pop-up window.  The

error may be due to missing recording media or other problems with the

DVD Writer itself. Please make sure that the DVD Writer contains a

writable DVD or CD disk and try to record again.

BLP$

If you selected the \b\Copy&Record\\ or the \b\Copy&Record&Exit\\ button and

a record error occurs, you will be given the opportunity to press the

\b\Record\\ button after the DVD Writer problem was resolved. The program

will NOT exit.

CYB$

Recording will take about 30min.

BLP$

It is easiest to use the GUI \b\/opt/bin/DvdIoHandler\\ to write the

DVD.  Several steps may be combined, once the container file system

has been created and the desired data has been selected. After these

tasks are completed you have to option to copy and record in one

step. These two tasks are the most time intensive, since it may take

to actually copy the data from their current location into the

container file system. In addition, recording a DVD or CD will take

about 30min. If you plan to leave, select the \b\Copy&Record&Exit\\

button, which will copy the data, record them and exit the program.

BLP$

Please make sure to exit the program after you finish recording the

DVD or CD. This will clean up resources you use while copying and

recording.

BLP$

Once you started the DVD recording process, you are the only person

that can record data to the DVD Writer. You may have up to three

processes simulataneously, however, only one process can record

data. If you use the \b\Copy&Record&Exit\\ or the

\b\Copy&Record\\ you will be

automatically limited to one concurrent process.

CYB$

Limitations and problems we have noted

RND$05

ODP$

(1)..The software we are using to make the UDF file system seems to crash

the system under Linux kernels greater than \b\2.4.20-18.9.\\  The

problem occurs while copying the data to the container filesystem.

ODP$

(2)..We have observed that if you use the \b\Gnome\\ window manager, it will

hang the system at the end of writing the DVD.  The solutions are:

RND$07

CY1$

(a) Switch to \b\KDE\\ or a lightweight window manager (e.g. \b\TWM\\)

(b) Disable the \b\magicdev\\ tool which runs under \b\Gnome\\.

TPF$

SP1$

SEC$.320  Use of DVDs & CDs for Data Processing - Details

BLP$

The files stored on the disk have the same format and encodings as on

the original disk.  Please note that the data are BINARY, and that the

Intel machines on which we take data are \b\little-endian\\.  If you read

the disks on a \b\big-endian\\ machine, it may be necessary to swap the

bytes, especially in histogram files.  Event files  will be swapped

automatically by \b\SCANOR\\, at some loss of efficiency.  If you  need to

byte-swap use the program \b\/usr/hhirf/swapo\\.

SEC$.322  Macintosh and Windows computers

BLP$

Using the DVD is as easy as inserting it into your DVD drive and

waiting for the system to mount it. You can then copy the files about as

you wish.

SEC$.324  Linux computers

BLP$

On Linux, ordinary users  logged in at the console can arrange to mount

CD and DVD devices. Some window managers, e.g. \b\Gnome\\ and \b\KDE\\, under

Linux will try to mount the  DVD for you, then popup a file manager

window.  Then you can manipulate the files as you wish.

BLP$

Failing that, your system should be setup to permit you to mount the

DVD. If your \b\/etc/fstab\\ file has a line like:

CYB$

/dev/cdrom1     /mnt/cdrom1      udf,iso9660 noauto,owner,kudzu,r o 0 0

CY1$

Then you can mount the DVD by using a command like:

\b\mount /dev/cdrom1\\

BLP$

It seems that the default will be to mount the DVD as  \b\/mnt/cdrom1\\

which can be treated like an ordinary disk.

To dismount the disk, use one of the following commands:

CY1$

\b\umount /dev/cdrom1\\, or

\b\eject /dev/cdrom1\\

SEC$.326  Other UNIX computers

BLP$

Our experience with other UNIX systems, especially older ones,

is that  only the \b\root\\

user can mount DVD's.

Thus you would have to arrange with the sys admin to get root access,

or copy all your data at once to local storage.

The commands for mounting a CD or DVD vary substantially from UNIX

version to UNIX version, so please consult a local expert.

CYB$

==========================================================================

The website for this documentation will be found at:

http://www.phy.ornl.gov/local/computer

and the links to be found there.

The website has PICTURES as well as text!

===========================================================================

CHP$U320  Processing  UDFs - Linux Version Only!

TPF$

SP1$

SEC$.330  Processing of User Defined Files - UDFs - Linux Version Only!

BLP$

Support is provided for the processing of non-scandard event data files.

Such files might be generated via simulations or from some other source.

I will call such files User Defined Files or just \b\UDFs\\.

BLP$

Please don't confuse this usage of \b\UDF\\ with that refered to in SEC#

320.310 "Creation of DVDs & CDs". I chose the acronym to be similar to \b\LDF\\

without being aware of it's other usage. If its too confusing, I could

change it.

CY1$

The commands:

CY1$

\b\UDF filename\\      ;Opens the \b\UDF\\ for sequential access reading

;and sets flags for \b\UDF\\ processing

\b\UDF filename RECL\\ ;Opens the \b\UDF\\ for direct access reading with

;record length = \b\RECL\\

;and sets flags for \b\UDF\\ processing

BLP$

A number of special routines are brought into play. Depending on specific

requirements, one or more of these routines must be customized by the user.

There are three routines that may need to be customized. These are:

ODP$

\b\UDFOPEN\\ which opens the \b\UDF\\ for the type of access required for

reading (sequential, direct, etc). The default version opens the file as

a formatted (ASCII) file to be read sequentially.

ODP$

\b\UDFHAN\\ processes the positioning commands \b\REW, FR, & BR\\

which provides for REWIND, BACK-RECORD and FORWARD-RECORD operations.

ODP$

\b\UDFEVENT\\ reads the \b\UDF\\ and returns one event per call in the form

of INTEGER*4 ID and DATA arrays. These event arrays are then used

to build standard L003 buffers. This routine will most

certainly need to be customized, however, it is probably the only one

which does.

CY1$

The archive for default routines are in \b\/usr/hhirf/scanorlib.a\\

The source  for default routines are in \b\/tera/milner/DDgnu/Dscanorlib/\\

BLP$

In order to use the \b\UDF\\ support, the user must understand the structure

of the \b\UDF\\ and be able to:

ODP$

o......Modify \b\UDFOPEN\\ to be compatible with the reading requirements,

ODP$

o......Modify \b\UDFEVENT\\ so as to read the \b\UDF\\ and return one

event per call.

BLP$

The template (default) \b\UDF\\ support routines are internally documented and

listed on subsequent pages.

TPF$

CY1$

CEN$

(continued on next page)

CHP$U320  Routine UDFOPEN - Linux Version Only!

TPF$

SP1$

CY1$

C$PROG UDFOPEN   - Opens Input UDF-Files for SCANOR

C

C     ******************************************************************

C     BY W.T. MILNER AT HRIBF - LAST MODIFIED 03/31/2005

C     ******************************************************************

C

SUBROUTINE UDFOPEN(IERR)

C

IMPLICIT NONE

C

C     ------------------------------------------------------------------

COMMON/LLL/ MSSG(28),NAMPROG(2),LOGUT,LOGUP,LISFLG,MSGF

INTEGER*4   MSSG,NAMPROG,LOGUT,LOGUP

CHARACTER*4 LISFLG,MSGF

CHARACTER*112 CMSSG

EQUIVALENCE (CMSSG,MSSG)

C     ------------------------------------------------------------------

COMMON/ML02/ IWDRAW(20)

INTEGER*4    IWDRAW

C     ------------------------------------------------------------------

COMMON/SC15/ NCEOF,LAUTO

INTEGER*4    NCEOF

CHARACTER*4        LAUTO

C     ------------------------------------------------------------------

COMMON/SC16/ INDIR(8192),INTYP,INRECI,LUINF

INTEGER*4    INDIR,            INRECI,LUINF

CHARACTER*4              INTYP

C     ------------------------------------------------------------------

COMMON/SC29/ UDFNAM(20),UDFRECL

INTEGER*4    UDFNAM,    UDFRECL

C     ------------------------------------------------------------------

CHARACTER*80 CNAMF

EQUIVALENCE (CNAMF,UDFNAM)

INTEGER*4    RECLVALU,IOS,IERR

C     ------------------------------------------------------------------

SAVE

C     ------------------------------------------------------------------

C     Process: UDF filename <RECL>     ;i.e. get UDFNAM & UDFRECL

C     ------------------------------------------------------------------

C

CALL UDFNAME(IWDRAW,UDFNAM,UDFRECL,IERR)

C

IF(IERR.NE.0) GO TO 1000

CEN$

(continued on next page)

TPF$

SP1$

CY1$

C

C     ------------------------------------------------------------------

C     Open User-Defined-File for input

C     ------------------------------------------------------------------

C

CLOSE(UNIT=LUINF)               !Close input file if open

INTYP='    '                    !Reset input type

NCEOF=0                         !Reset contiguous EOF counter

C

IF(UDFRECL.EQ.0) THEN           !Test for RECL specified

OPEN(UNIT      = LUINF,         !Otherwise,

&     FILE      = CNAMF,         !Open UDF for sequential access

&     STATUS    = 'OLD',

&     IOSTAT    = IOS)

GO TO 100                       !Go test status

ENDIF

C

OPEN(UNIT      = LUINF,         !Otherwise,

&     FILE      = CNAMF,         !Open UDF for DIRECT access

&     ACCESS    = 'DIRECT',

&     RECL      = RECLVALU(UDFRECL),!with RECORD LENGTH = UDFRECL

&     STATUS    = 'OLD',

&     IOSTAT    = IOS)

C

100 IF(IOS.NE.0) THEN               !Test OPEN status for good

CALL IOFERR(IOS)

GO TO 1000

ENDIF

C

INTYP='UDF '                    !Set input type to UDF

C

INRECI=1                        !Next rec# to be read

C

RETURN

C

C     ------------------------------------------------------------------

C     Send error messages

C     ------------------------------------------------------------------

C

1000 WRITE(CMSSG,1005)

1005 FORMAT('UDFOPEN ERROR')

CALL MESSLOG(LOGUT,LOGUP)

IERR=1

RETURN

END

CHP$U320  Routine UDFHAN - Linux Version Only

TPF$

SP1$

CY1$

C$PROG UDFHAN    - Manages UDF-file position pointers for SCANOR

C

C     ******************************************************************

C     BY W.T. MILNER AT HRIBF - LAST MODIFIED 11/22/2004

C     ******************************************************************

C

SUBROUTINE UDFHAN(IERR)

C

IMPLICIT NONE

C

C     ------------------------------------------------------------------

COMMON/LLL/ MSSG(28),NAMPROG(2),LOGUT,LOGUP,LISFLG,MSGF

INTEGER*4   MSSG,NAMPROG,LOGUT,LOGUP

CHARACTER*4 LISFLG,MSGF

CHARACTER*112 CMSSG

EQUIVALENCE (CMSSG,MSSG)

C     ------------------------------------------------------------------

COMMON/ML01/ IWD(20),LWD(2,40),ITYP(40),NF,NTER

INTEGER*4    IWD,    LWD,      ITYP,    NF,NTER

C     ------------------------------------------------------------------

COMMON/SC15/ NCEOF,LAUTO

INTEGER*4    NCEOF

CHARACTER*4        LAUTO

C     ------------------------------------------------------------------

COMMON/SC16/ INDIR(8192),INTYP,INRECI,LUINF

INTEGER*4    INDIR,            INRECI,LUINF

CHARACTER*4              INTYP

C     ------------------------------------------------------------------

INTEGER*4    IERR,KIND,NUM,NV,N

REAL*4       XV

CHARACTER*4  KMD

EQUIVALENCE (KMD,LWD(1,1))

C     ------------------------------------------------------------------

SAVE

C     ------------------------------------------------------------------

C

C     LUINF    =  Logical unit# for UDF-file

C

C     INTYP    = '    ', TAPE, FILE = input type

C

C     INRECI   =  Current rec# pointer for input file if DIRECT access

C                 Otherwise just keeps track of position but not used

C     ------------------------------------------------------------------

C

IERR=0

C

CALL MILV(LWD(1,2),NV,XV,KIND,IERR)

IF(IERR.NE.0) GO TO 1000

NUM=NV

IF(NUM.LE.0) NUM=1

C

IF(INTYP.NE.'UDF ') GO TO 1000

C

IF(KMD.EQ.'REW ') GO TO 100

IF(KMD.EQ.'BR  ') GO TO 150

IF(KMD.EQ.'FR  ') GO TO 200

GO TO 1000

CEN$

(continued on next page)

TPF$

SP1$

CY1$

C

C     ------------------------------------------------------------------

C     Process REW  -  Rewind input file

C     ------------------------------------------------------------------

C

100 REWIND LUINF               !For SEQUENTIAL access only

NCEOF=0                    !Reset contiguous EOF counter

INRECI=1                   !Next REC# to be read for DIRECT access

RETURN

C

C     ------------------------------------------------------------------

C     Process BR   -  Backup record/s on input file

C     ------------------------------------------------------------------

C

150 DO 160 N=1,NUM

BACKSPACE LUINF            !For SEQUENTIAL access only

INRECI=INRECI-1

IF(INRECI.LT.1) THEN

INRECI=1

RETURN

ENDIF

160 CONTINUE

RETURN

C

C     ------------------------------------------------------------------

C     Process FR   -  Forward record/s on input file

C     ------------------------------------------------------------------

C

200 DO 210 N=1,NUM

READ(LUINF,205)KIND         !For SEQUENTIAL access only

205 FORMAT(A4)

INRECI=INRECI+1

210 CONTINUE

RETURN

C

C     ------------------------------------------------------------------

C     Send error messages

C     ------------------------------------------------------------------

C

1000 IERR=1

RETURN

END

CHP$U320  Routine UDFEVENT - Linux Version Only

TPF$

SP1$

CY1$

C$PROG UDFEVENT  - Reads & returns one event from example UDF-file

C

C     ******************************************************************

C     BY W.T. MILNER AT HRIBF - LAST MODIFIED 11/28/2004

C     ******************************************************************

C

SUBROUTINE UDFEVENT(MXID,PID,DAT,NP,IERR)

C

IMPLICIT NONE

C

C     ------------------------------------------------------------------

COMMON/SC16/ INDIR(8192),INTYP,INRECI,LUINF

INTEGER*4    INDIR,            INRECI,LUINF

CHARACTER*4              INTYP

C     ------------------------------------------------------------------

COMMON/SC29/ UDFNAM(20),UDFRECL

INTEGER*4    UDFNAM,    UDFRECL

C     ------------------------------------------------------------------

INTEGER*4    MXID,PID(*),DAT(*),BUF(2,8),NP,LU,IERR,I

C     ------------------------------------------------------------------

SAVE

C     ------------------------------------------------------------------

C

NP=0

IERR=0

C

100 INRECI=INRECI+1

C

IF(UDFRECL.EQ.0) THEN

READ(LUINF,110,ERR=200,END=300)BUF      !Read ASCII input line

ENDIF

C

IF(UDFRECL.GT.0) THEN

READ(LUINF,REC=INRECI,ERR=200)BUF       !Read binary input line

ENDIF

C

110 FORMAT(16I5)

C

IF(BUF(1,1).EQ.0.AND.BUF(2,1).EQ.0) RETURN  !If 1st 2 wds 0,

C                                                 !then its end-event

C

140 DO 150 I=1,8                            !Loop on buffer values

IF(BUF(1,I).EQ.0) GO TO 150             !If parm-ID 0, skip it

NP=NP+1                                 !Inc cntr

PID(NP)=BUF(1,I)                        !Save parm-ID

DAT(NP)=BUF(2,I)                        !Save data

150 CONTINUE

GO TO 100                               !Go read next record

C

200 WRITE(6,205)                            !Error return

205 FORMAT('Error reading UDF file')

IERR=5

RETURN

C

300 WRITE(6,305)                            !EOF return

305 FORMAT('EOF reading UDF file')

IERR=999

RETURN

END

CHP$U320  scanor - (Using multiple CPUs)

TPF$

SP1$

SEC$.340  Using Multiple CPUs to Process Data

BON$

BLP$

First, let me say that this does not represent a special feature in scanor

but rather a suggested method for using multiple CPUs in processing data.

BOF$

BLP$

Actually, a new feature has been added to \b\damm\\ (see \b\SEC# U300.310\\

for a complete list of commands)

which supports the use of multiple CPUs in

processing list data into standard \b\ORPH\\ histogram files. The following

method is assumed:

ODP$

o......The user prepares a scanning program in the usual way.

ODP$

o......Let the list-data input be from \b\listdata.ldf\\.

ODP$

o......Then run a number of identical scan processes on different

CPUs (\b\alphalnx0, alphalnx1, ... alphalnx9\\, for example).

ODP$

o......All scan processes input from different regions (specified files or

specified records within specified files, etc.)

of \b\listdata.ldf\\.

ODP$

o......All scan processes generate output to histogram files with different

full-path-names.

ODP$

o......Use \b\damm\\ to examine the different output histograms for

gain match problems or whatever.

ODP$

o......Finally, use \b\damm\\ to add all of the scan-generated his-files

to a final his-file \b\"total.his"\\.

ODP$

o......Any scan process which produces the scandard .his & .drr structures

will work.

ODP$

o......No modification of the scan program is required.

CEB$

(see the next page for an example)

TPF$

SP1$

SEC$.340  Using Multiple CPUs to Process Data - Example

BLP$

For a simple example, assume that you wish to use 10 processors

(say \b\alphalnx0 - alphalnx9\\) to process data from one \b\ldf-file\\.

In this example, each processor will process the data from one header of

the \b\ldf-file\\ and finally \b\damm\\ will be used to sum the results

of all scan processes into a final \b\his-file\\.

CY1$

\bu\Assume the Following:\\

ODP$

o......The scan process is called \b\myscan\\

ODP$

o......The data file to be processed in \b\/tera/myname/Dmydata/listdata.ldf\\

ODP$

o......All scan processes are run in directory \b\/tera/myname/Dscans/\\

ODP$

o......Program \b\damm\\ is run in directory \b\tera/myname/Dhistot/\\

ODP$

o......Each scan process will process one file (each starting from a different

header on the \b\ldf-file\\.

CY1$

\bu\Do the following:\\

ODP$

o......Prepare the scanning program \b\myscan\\ in the usual way.

ODP$

o......Open windows & login to \b\alphalnx0, alphalnx1, ... alphalnx9\\.

CY1$

On \b\alphalnx0\\ type:

CY1$

\b\cd /tera/myname/Dscans/\\

\b\myscan scan0\\

\b\file /tera/myname/Dmydata/listdata.ldf\\

\b\find 1\\

\b\goen 1\\

On \b\alphalnx1\\ type:

CY1$

\b\cd /tera/myname/Dscans/\\

\b\myscan scan1\\

\b\file /tera/myname/Dmydata/listdata.ldf\\

\b\find 2\\

\b\goen 1\\

.

.

.

On \b\alphalnx9\\ type:

CY1$

\b\cd /tera/myname/Dscans/\\

\b\myscan scan9\\

\b\file /tera/myname/Dmydata/listdata.ldf\\

\b\find 10\\

\b\goen 1\\

CEB$

(continued on next page)

TPF$

SP1$

SEC$.340  Using Multiple CPUs to Process Data - Example (continued)

BLP$

Prepare a command file \b\addum.cmd\\ for \b\damm\\ which looks like the

one shown below.

(Actually, you probably should prepare this file before you start the

scan processes to make sure that you get all of the paths & names

defined correctly).

CYB$

fadi /tera/myname/Dscans/scan0.his    !Open first input his-file to be added

fadn /tera/myname/Dhistot/total.his   !Create output his-file with identical

!structure to that of input

fadd                                  !Add input to output

fadi /tera/myname/Dscans/scan1.his    !Open next input his-file

fadd                                  !Add input to output

fadi /tera/myname/Dscans/scan2.his    !Open next input his-file

fadd                                  !Add input to output

fadi /tera/myname/Dscans/scan3.his    !Open next input his-file

fadd                                  !Add input to output

fadi /tera/myname/Dscans/scan4.his    !Open next input his-file

fadd                                  !Add input to output

fadi /tera/myname/Dscans/scan5.his    !Open next input his-file

fadd                                  !Add input to output

fadi /tera/myname/Dscans/scan6.his    !Open next input his-file

fadd                                  !Add input to output

fadi /tera/myname/Dscans/scan7.his    !Open next input his-file

fadd                                  !Add input to output

fadi /tera/myname/Dscans/scan8.his    !Open next input his-file

fadd                                  !Add input to output

fadi /tera/myname/Dscans/scan9.his    !Open next input his-file

fadd                                  !Add input to output

INPUT SWITCHED TO VDT ******          !Returns to VDT control

\bu\To execute, type:\\

\b\damm\\

\b\cmd addum\\

CEB$

(see next page for a relevant excerpt from the damm document)

TPF$

SP1$

SEC$.340  Using Multiple CPUs to Process Data - Relevant damm commands

CYB$

Commands which add & subtract identically structured  his-files .............

BLP$

The following commands support the addition and subtraction of complete

his-files. The associated drr-files must have identical structures.

The files may contain any combination of 1D, 2D, INTEGER*2 & INTEGER*4

histograms

CY1$

-----------------------------------------------------------------------------

FADI   inpfile.his  ;Opens input  his-file - .his & .drr must already exist

;cannot be same as output

FADO   outfile.his  ;Opens output his-file - .his & .drr must already exist

;cannot be same as input but must have same structure

FADN   outfile.his  ;Creates & initializes   outfile.his & outfile.drr

;with same attributes as inpfile.his & inpfile.drr

;outfiles .his & .drr must NOT already exist

FADZ                ;Zeros outfile.his

FADF                ;Displays FAD files which are open

FADD                ;Adds      inpfile.his to   outfile.his

FSUB                ;Subtracts inpfile.his from outfile.his

CLIF                ;Closes input  FAD-file if open

CLOF                ;Closes output FAD-file if open

Ctrl/C              ;Interrupts (aborts) an ADD-in-progress

;Interrupts (aborts) a ZERO-in progress

-----------------------------------------------------------------------------

NOTE: The input & output file assignments here are NOT the same as those

assigned by the damm commands IN, OU & HOU. However, you may open these

files for display by commands such as IN, QF, etc.

For example, you may do the following:

fadi infile.his  !Open infile.his for add/subtract input

fado oufile.his  !Open oufile.his for add/subtract output

in   infile.his  !Open infile.his for normal display etc.

qf   oufile.his  !Open oufile.his for normal display etc.

-----------------------------------------------------------------------------

QIT$