RPD$075066001

CHP$U640  STOPI (UNIX & VMS versions) -  WTM

TPF$

SP1$

CEB$

STOPPING POWER OF ANY ION IN ANY ELEMENT

BLP$

STOPI calculates tables of stopping power vs ion energy for any ion

in any naturally occurring elemental target. It's main feature is

ease of use. For stopping powers, energy loss and ranges in compounds

and mixtures, see program "STOPX" by T. C. Awes - SEC# U630.

BLP$

STOPI uses the formulas and coefficients given by J. F. Ziegler in

- Stopping and Ranges of Ions in Matter, Vols 3 & 5, Pergamon Press,

1980. However, Ziegler uses somewhat more elaborate procedures in

calculating his final "curves" than are used here.

CEB$

BRIEF DESCRIPTION OF THE METHOD

BLP$

The nuclear stopping power (col labeled - SNUC) is calculated from

Formula 16 given in Vol 5.

BLP$

The electronic stopping power is calculated by two methods. The

first method (col labeled - SE(EFF-Q)) is calculated from a formula

of the form:

CY1$

S(HI)=S(P)*(ZEFHI/ZEFP)**2

BLP$

Where S(HI) denotes the stopping power of the ion of interest, S(P)

the stopping power of protons in the same medium at the same

ion velocity and (ZEFHI/ZEFP) the ratio of the fractional effective

charge of the ion to that of a proton at the same velocity.

The stopping power of protons is defined in terms of 12 coefficients

for each of the 92 target elements (given in Table 2 of Vol 3).

The associated formulas are given in Table 1, Page 16, Vol 3.

The fractional effective charge ratio is

calculated from Formula 13, Vol 5.

BLP$

Above an ion energy of 1.5 Mev/AMU, the electronic stopping power

is also calculated using the so called High-Energy formula given

in Formula 18, Vol 5. Results are listed in the col labeled

SE(HE-FORM).

BLP$

Well, it turns out that the effective charge formulas seem to work

pretty well over the range 0.2 to 100.0 Mev/AMU. Above about 0.5

Mev/AMU, this formula reproduces Ziegler's result about as well as

you can read his curves. There is some deviation below 0.5 Mev/AMU

which may be as large as 10 to 15% at 0.2 Mev/AMU although the

agreement is usually better than that. Below 0.2 Mev/AMU - your guess

is as good as mine. Results below 0.5 Mev/AMU are flagged with ????

Just to remind you that agreement with Zieglers curves is not

perfect.

CYB$

---------------------------------------------------------------------------

Type:  stopi              ;To start if \b\stopi\\ is defined in your

;.login, .cshrc or login.com files, otherwise:

Type:  /usr/hhirf/stopi   ;To start execution on a HHIRF DECstation

or

Type   /home/upak/stopi   ;To start execution on a SPARCstation

or

Type: @U1:[MILNER]STOPI   ;To start execution on the HHIRF VAX

---------------------------------------------------------------------------

CEN$

(continued on the next page)

TPF$

SP2$

CYB$

List of STOPI Commands

DBL$

CY1$

---------------------------------------------------------------------------

COMMAND                - MEANING

HELP                   - Gets this list again

CON                    - Directs output to terminal (default)

(here you get an abreviated output)

PR                     - Directs output to \b\stopi.log\\ on DECstation

- Directs output to \b\STOPI.PRT\\ on VAX

PROJ TARG              - Computes S(E) for preset list of energies

PROJ TARG EMIN,EMAX,DE - Does it for specified energy list

- all energies are in Mev

CYB$

EXAMPLE:

CY1$

32S 120SN 10,200,5     - Says 32S IN 120Sn - E=10,200,5 Mev

---------------------------------------------------------------------------

QIT$